Nuclear Data Section

International Atomic Energy Agency

P.O.Box 100, A-1400 Vienna, Austria

Memo 4C-3/399

Date:		11 November 2015

To:		Distribution

From:		N. Otsuka

Subject:		Status of Tohoku University Dynamitron Data in EXFOR

I was informed by Chen Guochang (CNDC) that the unit of the 7Li(n,n’)7Li angular differential cross sections at En=11.5 MeV in EXFOR 22359.006 must be mb/sr instead of b/sr. During analysis of this mistake, I started to get more comments (e.g., duplicated data, missing data) on the EXFOR entries for the neutron scattering data measured at the Tohoku University Dynamitron by Mamoru Baba et al.

Masanobu Ibaraki, a former member of the laboratory kindly provided me 52 data files which contain mainly neutron scattering data for various target nuclides measured by this facility and compiled in a quasi-EXFOR format by the laboratory (hereafter “Tohoku Library”). Below I summarized the necessary corrections.

I registered the items for EXFOR 22077 and 22343 in the EXFOR Feedback List for corrections at NEA Data Bank. The other entries are under revision at NDS with the authors, and will be sent to NEA Data Bank for area 2 transmission.

To be revised by NEA DB:

22077

- Delete 048-057 which are duplication of 047.

22343

- AUTHOR: I.Masanobu -> M.Ibaraki

Under revision at NDS (for NEA DB):

21984:

- Add one 10B DDX data point at 25 deg  (En=3.9 to 4.1 MeV) from B10.ONO.

- Delete 058 which is duplication (a part) of 054.

22188:

- Add partial cross sections from Table 1 of S,JAERI-M-90-025,383,1990.

22359:

- Add 6Li DDX at En=11.5 MeV other than 60 and 120 deg from 6LI11.IBA.

- Add 7Li DDX at En=11.5 MeV other than 60 and 120 deg from 7LI11.IBA.

- Add 9Be DDX and DAP at En=11.5 MeV from 9BE11.IBA.

- Delete 6Li DDX at En=14.1 MeV in 002 (Duplication of 22188.002).

- Delete 6Li DAP at En=14.1 MeV in 003 and 015 (Duplication of 22188.014-015)

22439:

- Delete. Duplication of 22188 and 22359. The purpose of the primary reference is not to report the experimental result but to report its theoretical analysis.

22481 (in PRELIM.2242):

- Replace digitized 237Np PFNS in 004 in PRELIM.2242 with those in NP237.FIS.

Data sets to be superseded?

Some data sets might be superseded by newer ones. Prof. Baba mentions that the newer one should be more reasonable in general. I sent him the following table for his comments and further action:

| Pair | Nuclide | En (MeV) | Author | Year | EXFOR# |
| --- | --- | --- | --- | --- | --- |
| 1 | 6Li | 14 | S.Matsuyama | 1989 | 22188 |
|  |  |  | S.Chiba | 1984 | 21986 |
| 2 | 12C | 14, 18 | S.Matsuyama | 1990 | 22188 |
|  |  |  | T.Kikuchi | 1988 | 22077 |
|  |  |  | M.Ono | 1985 | 21984 |
| 3 | 16O | 14 | M.Ishikawa | 1988 | 22157 |
|  |  |  | M.Ono | 1985 | 21984 |
| 4 | natCr | 14 | S.Matsuyama | 1992 | 22352 |
|  |  |  | N.Yabuta | 1986 | 22025 |
| 5 | natFe | 14 | S.Matsuyama | 1991 | 22362 |
|  |  |  | N.Yabuta | 1986 | 22025 |
| 6 |  | 18 | M.Ibaraki | 1999 | 22343 |
|  |  |  | N.Yabuta | 1986 | 22025 |
| 7 | natNi | 14 | S.Matsuyama | 1992 | 22352 |
|  |  |  | N.Yabuta | 1986 | 22025 |

Disagreement in energy spectra (DE) between EXFOR and Tohoku Library

The energy differential cross sections (DE) in EXFOR and the Tohoku Library disagree for the following 6 cases:

- 22025.025 and CR.YAB(Cr at En=14.1 MeV)

- 22025.042 and FE.YAB (Fe at En=18 MeV)

- 22025.061and NI.DAT (Ni at En=14.1 MeV),

- 22077.032 and TI.DAT (Ti at En=14.1 MeV)

- 22157.074 and V51.DAT (V at En=14.05 MeV)

- 22157.088 and MN55.DAT (Mn at En=14.1 MeV),

.

Prof. Baba mentions that the current EXFOR entries might give preliminary data sets to be replaced by those in the Tohoku Library. I sent their plots to him for his comments and further actions.

Distribution:

aikawa@jcprg.org

a.koning@iaea.org

aloks279@gmail.com

cgc@ciae.ac.cn

dvoytenkov@ippe.ru

dbrown@bnl.gov

fukahori.tokio@jaea.go.jp

ganesan555@gmail.com

gezg@ciae.ac.cn

iwamoto.osamu@jaea.go.jp

jhchang@kaeri.re.kr

jmwang@ciae.ac.cn

kaltchenko@kinr.kiev.ua

kato@nucl.sci.hokudai.ac.jp

kiyoshi.matsumoto@oecd.org

manuel.bossant@oecd.org

manokhin@ippe.ru

marema08@gmail.com

mmarina@ippe.ru

mwherman@bnl.gov

nicolas.soppera@oecd.org

n.otsuka@iaea.org

nrdc@jcprg.org

nurzat.kenzhebaev@gmail.com

ogritzay@kinr.kiev.ua

oscar.cabellos@oecd.org

otto.schwerer@aon.at

pikulina@expd.vniief.ru

pritychenko@bnl.gov

samaev@obninsk.ru

sbabykina@yandex.ru

scyang@kaeri.re.kr

selyankina@expd.vniief.ru

s.simakov@iaea.org

stakacs@atomki.hu

stanislav.hlavac@savba.sk

sv.dunaeva@gmail.com

taova@expd.vniief.ru

tarkanyi@atomki.hu

vvvarlamov@gmail.com

v.semkova@iaea.org

v.zerkin@iaea.org

yolee@kaeri.re.kr

zhuangyx@ciae.ac.cn

cc:

babam@cyric.tohoku.ac.jp

iba@akita-noken.jp

Appendix

Contents of Files for Data Measured and Compiled by Tohoku University

- 52 files received from Masanobu Ibaraki, 2015-10-08 -

(Last update of the catalogue: 2015-10-30)

Underlined EXFOR numbers: Data must be added to the EXFOR entry.

Deleted EXFOR number:  Data must be deleted form the EXFOR entry.

The number of data points (pts) was used to identify data points missing in EXFOR.

6LI11.IBA

Three additional finite DDX points at 60 deg are at the high energy end of 22359.002.

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00156.002 | 3-LI-6 | DAE | 11.5 | 20 |  | 37 | 22359.002 22439.002 |
| 00156.003 |  |  |  | 30 |  | 32 |  |
| 00156.004 |  |  |  | 37.5 |  | 29 |  |
| 00156.005 |  |  |  | 45. |  | 30 |  |
| 00156.006 |  |  |  | 52.5 |  | 33 |  |
| 00156.007 |  |  |  | 60 |  | 39 | 22359.002 22439.002 |
| 00156.008 |  |  |  | 70 |  | 29 | 22359.002 22439.002 |
| 00156.009 |  |  |  | 80 |  | 31 |  |
| 00156.010 |  |  |  | 90 |  | 25 |  |
| 00156.011 |  |  |  | 105 |  | 22 |  |
| 00156.012 |  |  |  | 120 |  | 31 | 22359.002 22439.002 |
| 00156.013 |  |  |  | 135 |  | 19 | 22359.002 22439.002 |
| 00156.014 |  |  |  | 150 |  | 18 |  |
|  |  |  |  | Sum |  | 375 |  |
| 00157.002 |  | DAP |  |  | 0 | 13 | 22359.015 22439.005 |
| 00157.003 |  |  |  |  | 2.185 | 13 | 22359.003 22439.003 |

6LI18.IBA

Fifty zero DDX data points are eliminated in 22359.002.

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00147.002 | 3-LI-6 | DAE | 18.0 | 20 |  | 94 | 22359.002 22439.002 |
| 00147.003 |  |  |  | 30 |  | 92 |  |
| 00147.004 |  |  |  | 37.5 |  | 90 |  |
| 00147.005 |  |  |  | 45. |  | 87 |  |
| 00147.006 |  |  |  | 52.5 |  | 84 |  |
| 00147.007 |  |  |  | 60 |  | 82 |  |
| 00147.008 |  |  |  | 70 |  | 78 |  |
| 00147.009 |  |  |  | 80 |  | 74 |  |
| 00147.010 |  |  |  | 90 |  | 70 |  |
| 00147.011 |  |  |  | 105 |  | 64 |  |
| 00147.012 |  |  |  | 120 |  | 60 |  |
| 00147.013 |  |  |  | 135 |  | 55 |  |
| 00147.014 |  |  |  | 150 |  | 54 |  |
|  |  |  |  | Sum |  | 984 |  |
| 00148.002 |  | DAP |  |  | 0 | 13 | 22359.015 22439.005 |
| 00148.003 |  |  |  |  | 2.185 | 13 | 22359.003 22439.003 |
| 00149.002 |  | CSP |  |  | 0 | 1 | 22359.016 22439.006 |
| 00149.003 |  |  |  |  | 2.185 | 1 | 22359.004 22439.004 |

7LI11.IBA

Seven / ten additional (mainly zero) DDX points at 60 / 120 deg are in 22359.005.

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00158.002 | 3-LI-7 | DAE | 11.5 | 20 |  | 35 | 22359.005 |
| 00158.003 |  |  |  | 30 |  | 35 |  |
| 00158.004 |  |  |  | 37.5 |  | 36 |  |
| 00158.005 |  |  |  | 45. |  | 34 |  |
| 00158.006 |  |  |  | 52.5 |  | 33 |  |
| 00158.007 |  |  |  | 60 |  | 43 | 22359.005 |
| 00158.008 |  |  |  | 70 |  | 32 | 22359.005 |
| 00158.009 |  |  |  | 80 |  | 33 |  |
| 00158.010 |  |  |  | 90 |  | 31 |  |
| 00158.011 |  |  |  | 105 |  | 25 |  |
| 00158.012 |  |  |  | 120 |  | 32 | 22359.005 |
| 00158.013 |  |  |  | 135 |  | 20 | 22359.005 |
| 00158.014 |  |  |  | 150 |  | 23 |  |
|  |  |  |  | Sum |  | 412 |  |
| 00159.002 |  | DAP |  |  | 0+0.478 | 13 | 22359.011 |
| 00159.003 |  |  |  |  | 4.63 | 13 | 22359.006 |

7LI18.IBA

59 zero DDX data points are eliminated in 22359.005.

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00150.002 | 3-LI-7 | DAE | 18.0 | 20 |  | 94 | 22359.005 |
| 00150.003 |  |  |  | 30 |  | 92 |  |
| 00150.004 |  |  |  | 37.5 |  | 90 |  |
| 00150.005 |  |  |  | 45. |  | 88 |  |
| 00150.006 |  |  |  | 52.5 |  | 86 |  |
| 00150.007 |  |  |  | 60 |  | 83 |  |
| 00150.008 |  |  |  | 70 |  | 80 |  |
| 00150.009 |  |  |  | 80 |  | 77 |  |
| 00150.010 |  |  |  | 90 |  | 73 |  |
| 00150.011 |  |  |  | 105 |  | 68 |  |
| 00150.012 |  |  |  | 120 |  | 64 |  |
| 00150.013 |  |  |  | 135 |  | 60 |  |
| 00150.014 |  |  |  | 150 |  | 55 |  |
|  |  |  |  | Sum |  | 1010 |  |
| 00151.002 |  | DAP |  |  | 0+0.478 | 13 | 22359.011 |
| 00151.003 |  |  |  |  | 4.63 | 13 | 22359.006 |
| O0152.002 |  | CSP |  |  | 0+0.478 | 1 | 22359.013 |
| O0152.003 |  |  |  |  | 4.63 | 1 | 22359.007 |

9BE11.IBA

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00160.002 | 4-BE-9 | DAE | 11.5 | 20 |  | 36 | 22359.008 |
| 00160.003 |  |  |  | 30 |  | 35 |  |
| 00160.004 |  |  |  | 37.5 |  | 35 |  |
| 00160.005 |  |  |  | 45. |  | 31 |  |
| 00160.006 |  |  |  | 52.5 |  | 33 |  |
| 00160.007 |  |  |  | 60 |  | 43 |  |
| 00160.008 |  |  |  | 70 |  | 29 |  |
| 00160.009 |  |  |  | 80 |  | 29 |  |
| 00160.010 |  |  |  | 90 |  | 37 |  |
| 00160.011 |  |  |  | 105 |  | 25 |  |
| 00160.012 |  |  |  | 120 |  | 33 |  |
| 00160.013 |  |  |  | 135 |  | 22 |  |
| 00160.014 |  |  |  | 150 |  | 21 |  |
|  |  |  |  |  |  | 409 |  |
| 00161.002 |  | DAP |  |  | 0 | 13 | 22359.009 |
| 00161.003 |  |  |  |  | 2.429 | 13 |  |

9BE18.IBA

24 zero DDX data points are eliminated in EXFOR 22359.008.

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00153.002 | 4-BE-9 | DAE | 18.0 | 20 |  | 92 | 22359.008 |
| 00153.003 |  |  |  | 30 |  | 91 |  |
| 00153.004 |  |  |  | 37.5 |  | 89 |  |
| 00153.005 |  |  |  | 45. |  | 88 |  |
| 00153.006 |  |  |  | 52.5 |  | 86 |  |
| 00153.007 |  |  |  | 60 |  | 83 |  |
| 00153.008 |  |  |  | 70 |  | 81 |  |
| 00153.009 |  |  |  | 80 |  | 78 |  |
| 00153.010 |  |  |  | 90 |  | 76 |  |
| 00153.011 |  |  |  | 105 |  | 71 |  |
| 00153.012 |  |  |  | 120 |  | 68 |  |
| 00153.013 |  |  |  | 135 |  | 65 |  |
| 00153.014 |  |  |  | 150 |  | 63 |  |
|  |  |  |  | Sum |  | 1031 |  |
| 00154.002 |  | DAP |  |  | 0 | 13 | 22359.014 |
| 00154.003 |  |  |  |  | 2.43 | 13 | 22359.009 |
| 00154.002 |  | CSP |  |  | 0 | 1 | 22359.012 |
| 00154.003 |  |  |  |  | 2.429 | 1 | 22359.010 |

AL27.DAT

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00007.002 | 13-AL-27 | DAE | 14.1 | 30 |  | 75 | 22157.040 |
| 00007.003 |  |  |  | 37.5 |  | 75 |  |
| 00007.004 |  |  |  | 49 |  | 73 |  |
| 00007.005 |  |  |  | 60 |  | 73 |  |
| 00007.006 |  |  |  | 80 |  | 71 |  |
| 00007.007 |  |  |  | 100 |  | 69 |  |
| 00007.008 |  |  |  | 120 |  | 65 |  |
| 00007.009 |  |  |  | 135 |  | 65 |  |
| 00007.010 |  |  |  | 150 |  | 65 |  |
|  |  |  |  | Sum |  | 631 |  |
| 00007.011 |  |  | 18 | 30 |  | 94 | 22157.040 |
| 00007.012 |  |  |  | 45 |  | 94 |  |
| 00007.013 |  |  |  | 60 |  | 92 |  |
| 00007.014 |  |  |  | 90 |  | 89 |  |
| 00007.015 |  |  |  | 120 |  | 86 |  |
| 00007.016 |  |  |  | 147.5 |  | 82 |  |
|  |  |  |  | Sum |  | 537 |  |
| 00008.002 |  | DAP | 14.1 |  | 0+0.84+ | 9 | 22157.055 |
| 00008.003 |  |  |  |  | 2.21+ | 9 | 22157.056 |
| 00008.004 |  |  | 18 |  | 0+0.84+ | 12 | 22157.055 |
| 00008.005 |  |  |  |  | 2.21+ | 12 | 22157.056 |
| 00009.002 |  | DE | 14.1 |  |  | 80 | 22157.059 |
| 00009.003 |  |  | 18 |  |  | 95 | 22157.059 |

B10.ONO

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00001.002 | 5-B-10 | DAE | 14.2 | 25 |  | 75 | 21984.002 |
| 00001.003 |  |  |  | 30 |  | 75 |  |
| 00001.004 |  |  |  | 45 |  | 69 |  |
| 00001.005 |  |  |  | 60 |  | 62 |  |
| 00001.006 |  |  |  | 75 |  | 59 |  |
| 00001.007 |  |  |  | 85 |  | 56 |  |
| 00001.008 |  |  |  | 100 |  | 62 |  |
| 00001.009 |  |  |  | 120 |  | 55 |  |
| 00001.010 |  |  |  | 135 |  | 52 |  |
| 00001.011 |  |  |  | 150 |  | 48 |  |
|  |  |  |  | Sum |  | 613 |  |
| 00002.002 |  | DAP |  |  | 0 | 10 | 21984.012 |
| 00003.002 |  | CSP |  |  | 0 | 1 | 21984.013 |

B11.ONO

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00001.002 | 5-B-11 | DAE | 14.2 | 25 |  | 70 | 21984.014 |
| 00001.003 |  |  |  | 30 |  | 71 |  |
| 00001.004 |  |  |  | 45 |  | 65 |  |
| 00001.005 |  |  |  | 60 |  | 67 |  |
| 00001.006 |  |  |  | 75 |  | 65 |  |
| 00001.007 |  |  |  | 85 |  | 65 |  |
| 00001.008 |  |  |  | 100 |  | 58 |  |
| 00001.009 |  |  |  | 120 |  | 58 |  |
| 00001.010 |  |  |  | 135 |  | 51 |  |
| 00001.011 |  |  |  | 150 |  | 48 |  |
|  |  |  |  | Sum |  | 618 |  |
| 00002.002 |  | DAP |  |  | 0 | 10 | 21984.024 |
| 00002.003 |  |  |  |  | 2.14 | 9 | 21984.027 |
| 00002.004 |  |  |  |  | 4.46+5.04 | 10 |  |
| 00002.005 |  |  |  |  | 6.76+6.81+ | 10 |  |
| 00003.002 |  | CSP |  |  | 0 | 1 | 21984.028 |
| 00003.003 |  |  |  |  | 2.14 | 1 | 21984.029 |
| 00003.004 |  |  |  |  | 4.46+5.04 | 1 |  |
| 00003.005 |  |  |  |  | 6.76+6.81+ | 1 |  |

BE9.DAT

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00001.002 | 4-BE-9 | DAE | 14.1 | 25 |  | 76 | 22157.002 |
| 00001.003 |  |  |  | 30 |  | 75 |  |
| 00001.004 |  |  |  | 37.5 |  | 74 |  |
| 00001.005 |  |  |  | 45 |  | 73 |  |
| 00001.006 |  |  |  | 52.5 |  | 71 |  |
| 00001.007 |  |  |  | 60 |  | 67 |  |
| 00001.008 |  |  |  | 80 |  | 63 |  |
| 00001.009 |  |  |  | 100 |  | 61 |  |
| 00001.010 |  |  |  | 120 |  | 57 |  |
| 00001.011 |  |  |  | 135 |  | 55 |  |
| 00001.012 |  |  |  | 150 |  | 53 |  |
|  |  |  |  | Sum |  | 725 |  |
| 00002.002 |  | DAP |  |  | 0 | 11 | 22157.013 |
| 00002.003 |  |  |  |  | 2.43 | 11 | 22157.014 |

BI11.SDA

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00138.002 | 83-BI-209 | DAE | 11.5 | 30 |  | 33 | 22343.002 |
| 00138.003 |  |  |  | 45 |  | 33 |  |
| 00138.004 |  |  |  | 60 |  | 31 |  |
| 00138.005 |  |  |  | 90 |  | 46 |  |
| 00138.006 |  |  |  | 120 |  | 30 |  |
| 00138.007 |  |  |  | 145 |  | 32 |  |
|  |  |  |  | Sum |  | 205 |  |

BI209.DAT

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00111.002 | 83-BI-209 | DAE | 14.1 | 30 |  | 76 | 22298.004 |
| 00111.003 |  |  |  | 37.5 |  | 76 |  |
| 00111.004 |  |  |  | 45 |  | 76 |  |
| 00111.005 |  |  |  | 60 |  | 76 |  |
| 00111.006 |  |  |  | 75 |  | 76 |  |
| 00111.007 |  |  |  | 90 |  | 73 |  |
| 00111.008 |  |  |  | 120 |  | 73 |  |
| 00111.009 |  |  |  | 150 |  | 74 |  |
|  |  |  |  | Sum |  | 600 |  |
| 00111.010 |  |  | 18 | 30 |  | 94 | 22298.004 |
| 00111.011 |  |  |  | 45 |  | 94 |  |
| 00111.012 |  |  |  | 60 |  | 94 |  |
| 00111.013 |  |  |  | 75 |  | 92 |  |
| 00111.014 |  |  |  | 90 |  | 94 |  |
| 00111.015 |  |  |  | 120 |  | 93 |  |
| 00111.016 |  |  |  | 145 |  | 93 |  |
|  |  |  |  | Sum |  | 654 |  |
| 00113.002 |  | DE | 14.1 |  |  | 74 | 22298.005 |
| 00113.003 |  |  | 18 |  |  | 95 |  |

C12.DAT

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00102.002 | 6-C-12 | DAE | 14.1 | 20 |  | 72 | 22188.019 |
| 00102.003 |  |  |  | 30 |  | 74 |  |
| 00102.004 |  |  |  | 37.5 |  | 73 |  |
| 00102.005 |  |  |  | 45 |  | 72 |  |
| 00102.006 |  |  |  | 52.5 |  | 65 |  |
| 00102.007 |  |  |  | 60 |  | 62 |  |
| 00102.008 |  |  |  | 75 |  | 62 |  |
| 00102.009 |  |  |  | 90 |  | 64 |  |
| 00102.010 |  |  |  | 105 |  | 60 |  |
| 00102.011 |  |  |  | 120 |  | 59 |  |
| 00102.012 |  |  |  | 135 |  | 46 |  |
| 00102.013 |  |  |  | 150 |  | 46 |  |
|  |  |  |  | Sum |  | 755 |  |
| 00102.014 |  |  | 18.0 | 20 |  | 94 | 22188.019 |
| 00102.015 |  |  |  | 25 |  | 93 |  |
| 00102.016 |  |  |  | 30 |  | 93 |  |
| 00102.017 |  |  |  | 35 |  | 92 |  |
| 00102.018 |  |  |  | 40 |  | 91 |  |
| 00102.019 |  |  |  | 45 |  | 90 |  |
| 00102.020 |  |  |  | 52.5 |  | 89 |  |
| 00102.021 |  |  |  | 60 |  | 86 |  |
| 00102.022 |  |  |  | 75 |  | 83 |  |
| 00102.023 |  |  |  | 90 |  | 81 |  |
| 00102.024 |  |  |  | 105 |  | 76 |  |
| 00102.025 |  |  |  | 120 |  | 73 |  |
| 00102.026 |  |  |  | 135 |  | 71 |  |
| 00102.027 |  |  |  | 145 |  | 71 |  |
|  |  |  |  | Sum |  | 1183 |  |
| 00103.002 |  | DAP | 14.1 |  | 0 | 12 | 22188.045 |
| 00103.003 |  |  |  |  | 4.44 | 12 | 22188.046 |
| 00103.004 |  |  |  |  | 7.65 | 12 |  |
| 00103.005 |  |  |  |  | 9.64 | 12 |  |
| 00103.006 |  |  | 18.0 |  | 0 | 14 | 22188.045 |
| 00103.007 |  |  |  |  | 4.44 | 14 | 22188.046 |
| 00103.008 |  |  |  |  | 7.65 | 14 |  |
| 00103.009 |  |  |  |  | 9.64 | 14 |  |

C12.KIK

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00003.002 | 6-C-12 | DAE | 14.1 | 25 |  | 75 | 22077.047 |
| 00003.003 |  |  |  | 30 |  | 74 |  |
| 00003.004 |  |  |  | 37.5 |  | 73 |  |
| 00003.005 |  |  |  | 45 |  | 72 |  |
| 00003.006 |  |  |  | 52.5 |  | 69 |  |
| 00003.007 |  |  |  | 60 |  | 66 |  |
| 00003.008 |  |  |  | 80 |  | 67 |  |
| 00003.009 |  |  |  | 100 |  | 58 |  |
| 00003.010 |  |  |  | 120 |  | 54 |  |
| 00003.011 |  |  |  | 135 |  | 56 |  |
| 00003.012 |  |  |  | 150 |  | 46 |  |
|  |  |  |  | Sum |  | 710 |  |
| 00003.013 |  |  | 18 | 30 |  | 94 | 22077.047 |
| 00003.014 |  |  |  | 45 |  | 91 |  |
| 00003.015 |  |  |  | 60 |  | 86 |  |
| 00003.016 |  |  |  | 90 |  | 78 |  |
| 00003.017 |  |  |  | 120 |  | 70 |  |
| 00003.018 |  |  |  | 147.5 |  | 65 |  |
|  |  |  |  | Sum |  | 484 |  |
| 00004.002 |  | DAP | 14.1 |  | 0 | 11 | 22077.058 |
| 00004.003 |  |  |  |  | 4.44 | 11 | 22077.059 |
| 00004.004 |  |  |  |  | 7.65 | 11 |  |
| 00004.005 |  |  |  |  | 9.64 | 11 |  |
| 00004.006 |  |  | 18 |  | 0 | 12 | 22077.058 |
| 00004.007 |  |  |  |  | 4.44 | 12 | 22077.059 |
| 00004.008 |  |  |  |  | 7.65 | 12 |  |
| 00004.009 |  |  |  |  | 9.64 | 12 |  |

C12.ONO

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00001.002 | 6-C-12 | DAE | 14.2 | 25 |  | 65 | 21984.032 |
| 00001.003 |  |  |  | 30 |  | 64 |  |
| 00001.004 |  |  |  | 45 |  | 62 |  |
| 00001.005 |  |  |  | 60 |  | 56 |  |
| 00001.006 |  |  |  | 75 |  | 56 |  |
| 00001.007 |  |  |  | 85 |  | 56 |  |
| 00001.008 |  |  |  | 100 |  | 58 |  |
| 00001.009 |  |  |  | 120 |  | 47 |  |
| 00001.010 |  |  |  | 135 |  | 49 |  |
| 00001.011 |  |  |  | 150 |  | 45 |  |
|  |  |  |  | Sum |  | 558 |  |
| 00001.012 |  |  | 18.2 | 25 |  | 93 | 21984.042 |
| 00001.013 |  |  |  | 30 |  | 94 |  |
| 00001.014 |  |  |  | 37 |  | 93 |  |
| 00001.015 |  |  |  | 45 |  | 92 |  |
| 00001.016 |  |  |  | 52 |  | 91 |  |
| 00001.017 |  |  |  | 60 |  | 89 |  |
| 00001.018 |  |  |  | 75 |  | 86 |  |
| 00001.019 |  |  |  | 85 |  | 84 |  |
| 00001.020 |  |  |  | 100 |  | 80 |  |
| 00001.021 |  |  |  | 120 |  | 76 |  |
| 00001.022 |  |  |  | 135 |  | 73 |  |
| 00001.023 |  |  |  | 150 |  | 72 |  |
|  |  |  |  | Sum |  | 1023 |  |
| 00002.002 |  | DAP | 14.2 |  | 0 | 10 | 21984.054 |
| 00002.003 |  |  |  |  | 4.44 | 10 | 21984.055 |
| 00002.004 |  |  |  |  | 7.65 | 10 |  |
| 00002.005 |  |  |  |  | 9.64 | 10 |  |
| 00002.006 |  |  | 18.2 |  | 0 | 12 | 21984.054 |
| 00002.007 |  |  |  |  | 4.44 | 12 | 21984.055 |
| 00002.008 |  |  |  |  | 7.65 | 12 |  |
| 00002.009 |  |  |  |  | 9.64 | 12 |  |
| 00003.002 |  | CSP | 14.2 |  | 0 | 1 | 21984.062 |
| 00003.003 |  |  |  |  | 4.43 | 1 | 21984.063 |
| 00003.004 |  |  |  |  | 7.65 | 1 |  |
| 00003.005 |  |  |  |  | 9.65 | 1 |  |
| 00003.006 |  |  |  |  | 3α-bu | 1 | N/A |
| 00003.007 |  |  | 18.2 |  | 0 | 1 | 21984.062 |
| 00003.008 |  |  |  |  | 4.43 | 1 | 21984.063 |
| 00003.009 |  |  |  |  | 7.65 | 1 |  |
| 00003.010 |  |  |  |  | 9.65 | 1 |  |
| 00003.011 |  |  |  |  | 3α-bu | 1 | N/A |

CR.DAT

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00126.002 | 24-CR-0 | DAE | 14.1 | 20 |  | 77 | 22352.002 |
| 00126.003 |  |  |  | 30 |  | 77 |  |
| 00126.004 |  |  |  | 37.5 |  | 76 |  |
| 00126.005 |  |  |  | 45 |  | 76 |  |
| 00126.006 |  |  |  | 52.5 |  | 73 |  |
| 00126.007 |  |  |  | 60 |  | 74 |  |
| 00126.008 |  |  |  | 90 |  | 73 |  |
| 00126.009 |  |  |  | 120 |  | 72 |  |
| 00126.010 |  |  |  | 150 |  | 70 |  |
|  |  |  |  | Sum |  | 668 |  |
| 00128.002 |  | DE |  |  |  | 74 | 22352.003 |

CR.YAB

DE data set of this file is different from EXFOR 22025.025.

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00016.002 | 24-CR-0 | DAE | 14.1 | 30 |  | 75 | 22025.014 |
| 00016.003 |  |  |  | 37.5 |  | 68 |  |
| 00016.004 |  |  |  | 49 |  | 75 |  |
| 00016.005 |  |  |  | 60 |  | 75 |  |
| 00016.006 |  |  |  | 80 |  | 74 |  |
| 00016.007 |  |  |  | 100 |  | 73 |  |
| 00016.008 |  |  |  | 120 |  | 71 |  |
| 00016.009 |  |  |  | 135 |  | 63 |  |
| 00016.010 |  |  |  | 150 |  | 71 |  |
|  |  |  |  | Sum |  | 645 |  |
| 00017.002 |  | DAP |  |  | 0 | 9 | 22025.023 |
| 00017.003 |  |  |  |  | 1.43 | 9 | 22025.024 |
| 00018.002 |  | DE |  |  |  | 70 | ? |

CU.DAT

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00028.002 | 29-CU-0 | DAE | 14.1 | 25 |  | 76 | 22077.002 |
| 00028.003 |  |  |  | 30 |  | 78 |  |
| 00028.004 |  |  |  | 37.5 |  | 70 |  |
| 00028.005 |  |  |  | 45 |  | 77 |  |
| 00028.006 |  |  |  | 52.5 |  | 68 |  |
| 00028.007 |  |  |  | 60 |  | 77 |  |
| 00028.008 |  |  |  | 70 |  | 69 |  |
| 00028.009 |  |  |  | 80 |  | 76 |  |
| 00028.010 |  |  |  | 100 |  | 74 |  |
| 00028.011 |  |  |  | 120 |  | 73 |  |
| 00028.012 |  |  |  | 135 |  | 72 |  |
| 00028.013 |  |  |  | 150 |  | 72 |  |
|  |  |  |  | Sum |  | 882 |  |
| 00028.014 |  |  | 18 | 30 |  | 96 | 22077.002 |
| 00028.015 |  |  |  | 45 |  | 96 |  |
| 00028.016 |  |  |  | 60 |  | 95 |  |
| 00028.017 |  |  |  | 90 |  | 94 |  |
| 00028.018 |  |  |  | 120 |  | 92 |  |
| 00028.019 |  |  |  | 135 |  | 91 |  |
|  |  |  |  | Sum |  | 564 |  |
| 00029.002 |  | DAP | 14,1 |  | 1.15 | 11 | 22077.014 |
| 00029.003 |  |  |  |  | 2.52 | 11 |  |
| 00029.004 |  |  |  |  | 3.39 | 11 |  |
| 00030.002 |  | DE |  |  |  | 80 | 22077.017 |
| 00030.003 |  |  | 18 |  |  | 95 |  |

CU11.SDA

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00141.002 | 29-CU-0 | DAE | 11.5 | 30 |  | 32 | 22343.003 |
| 00141.003 |  |  |  | 37.5 |  | 32 |  |
| 00141.004 |  |  |  | 45 |  | 32 |  |
| 00141.005 |  |  |  | 60 |  | 32 |  |
| 00141.006 |  |  |  | 75 |  | 32 |  |
| 00141.007 |  |  |  | 90 |  | 46 |  |
| 00141.008 |  |  |  | 120 |  | 30 |  |
| 00141.009 |  |  |  | 150 |  | 29 |  |
|  |  |  |  | Sum |  | 265 |  |

F19.ONO

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00001.002 | 9-F-19 | DAE | 14.2 | 25 |  | 75 | 21984.097 |
| 00001.003 |  |  |  | 30 |  | 75 |  |
| 00001.004 |  |  |  | 45 |  | 68 |  |
| 00001.005 |  |  |  | 60 |  | 72 |  |
| 00001.006 |  |  |  | 75 |  | 70 |  |
| 00001.007 |  |  |  | 82.4 |  | 69 |  |
| 00001.008 |  |  |  | 105 |  | 66 |  |
| 00001.009 |  |  |  | 120 |  | 56 |  |
| 00001.010 |  |  |  | 135 |  | 61 |  |
| 00001.011 |  |  |  | 150 |  | 59 |  |
|  |  |  |  | Sum |  | 671 |  |
| 00002.002 |  | DAP |  |  | 0 | 10 | 21984.107 |
| 00003.002 |  | CSP |  |  | 0 | 1 | 21984.108 |

FE.DAT

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00114.002 | 26-FE-0 | DAE | 14.1 | 30 |  | 76 | 22362.002 |
| 00114.003 |  |  |  | 37.5 |  | 76 |  |
| 00114.004 |  |  |  | 45 |  | 76 |  |
| 00114.005 |  |  |  | 60 |  | 75 |  |
| 00114.006 |  |  |  | 75 |  | 73 |  |
| 00114.007 |  |  |  | 90 |  | 74 |  |
| 00114.008 |  |  |  | 120 |  | 71 |  |
| 00114.009 |  |  |  | 150 |  | 72 |  |
|  |  |  |  | Sum |  | 593 |  |
| 00116.002 |  | DE |  |  |  | 73 | 22362.003 |

FE.YAB

DE data set at 18 MeV of this file is different from EXFOR 22025.042.

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00022.002 | 26-FE-0 | DAE | 14.1 | 30 |  | 76 | 22025.026 |
| 00022.003 |  |  |  | 37.5 |  | 68 |  |
| 00022.004 |  |  |  | 45 |  | 75 |  |
| 00022.005 |  |  |  | 60 |  | 74 |  |
| 00022.006 |  |  |  | 80 |  | 74 |  |
| 00022.007 |  |  |  | 100 |  | 72 |  |
| 00022.008 |  |  |  | 120 |  | 70 |  |
| 00022.009 |  |  |  | 135 |  | 62 |  |
| 00022.010 |  |  |  | 150 |  | 71 |  |
|  |  |  |  |  |  | 642 |  |
| 00022.011 |  |  | 18 | 30 |  | 95 | 22025.026 |
| 00022.012 |  |  |  | 45 |  | 95 |  |
| 00022.013 |  |  |  | 60 |  | 94 |  |
| 00022.014 |  |  |  | 90 |  | 92 |  |
| 00022.015 |  |  |  | 120 |  | 91 |  |
| 00022.016 |  |  |  | 150 |  | 84 |  |
|  |  |  |  |  |  | 551 |  |
| 00023.002 |  | DAP | 14.1 |  | 0+0.84 | 9 | 22025.041 |
| 00024.002 |  | DE | 14.1 |  |  | 77 | 22025.042 |
| 00024.003 |  |  | 18. |  |  | 96 | ? |

FE11.SDA

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00132.002 | 26-FE-0 | DAE | 11.5 | 20 |  | 33 | 22343.004 |
| 00132.003 |  |  |  | 30 |  | 33 |  |
| 00132.004 |  |  |  | 37.5 |  | 33 |  |
| 00132.005 |  |  |  | 45 |  | 32 |  |
| 00132.006 |  |  |  | 52.5 |  | 33 |  |
| 00132.007 |  |  |  | 60 |  | 33 |  |
| 00132.008 |  |  |  | 75 |  | 30 |  |
| 00132.009 |  |  |  | 90 |  | 44 |  |
| 00132.010 |  |  |  | 105 |  | 32 |  |
| 00132.011 |  |  |  | 120 |  | 31 |  |
|  |  |  |  | Sum |  | 334 |  |

FE18.DAT

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00163.002 | 26-FE-0 | DAE | 18 | 30 |  | 95 | 22343.004 |
| 00163.003 |  |  |  | 45 |  | 95 |  |
| 00163.004 |  |  |  | 60 |  | 94 |  |
| 00163.005 |  |  |  | 75 |  | 89 |  |
| 00163.006 |  |  |  | 90 |  | 90 |  |
| 00163.007 |  |  |  | 120 |  | 87 |  |
| 00163.008 |  |  |  | 150 |  | 87 |  |
|  |  |  |  | Sum |  | 637 |  |
| 00164.002 |  | DE |  |  |  | 95 | 22343.007 |

LI6.CBA

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00001.002 | 3-LI-6 | DAE | 4.2 | 30 |  | 12 | 21986.002 |
| 00001.003 |  |  |  | 45 |  | 11 |  |
| 00001.004 |  |  |  | 60 |  | 11 |  |
| 00001.005 |  |  |  | 75 |  | 10 |  |
| 00001.006 |  |  |  | 90 |  | 9 |  |
| 00001.007 |  |  |  | 110 |  | 7 |  |
| 00001.008 |  |  |  | 125 |  | 7 |  |
| 00001.009 |  |  |  | 135 |  | 6 |  |
|  |  |  |  | Sum |  | 73 |  |
| 00001.010 |  |  | 5.4 | 30 |  | 18 | 21986.010 |
| 00001.011 |  |  |  | 45 |  | 17 |  |
| 00001.012 |  |  |  | 60 |  | 16 |  |
| 00001.013 |  |  |  | 75 |  | 14 |  |
| 00001.014 |  |  |  | 90 |  | 12 |  |
| 00001.015 |  |  |  | 110 |  | 10 |  |
| 00001.016 |  |  |  | 125 |  | 9 |  |
| 00001.017 |  |  |  | 135 |  | 8 |  |
|  |  |  |  |  |  | 104 |  |
| 00001.018 |  |  | 14.2 | 30 |  | 82 | 21986.018 |
| 00001.019 |  |  |  | 37.5 |  | 79 |  |
| 00001.020 |  |  |  | 43.12 |  | 78 |  |
| 00001.021 |  |  |  | 50 |  | 70 |  |
| 00001.022 |  |  |  | 60 |  | 66 |  |
| 00001.023 |  |  |  | 75 |  | 61 |  |
| 00001.024 |  |  |  | 94.28 |  | 56 |  |
| 00001.025 |  |  |  | 104.21 |  | 50 |  |
| 00001.026 |  |  |  | 120 |  | 46 |  |
| 00001.027 |  |  |  | 135 |  | 44 |  |
| 00001.028 |  |  |  | 150 |  | 39 |  |
|  |  |  |  |  |  | 671 |  |

LI6.DAT

One zero DAP data point for Ex=3.56 MeV at 116.06 deg is missing in EXFOR 22359.003 and 22188.015.

| Subent | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00100.002 | 3-LI-6 | DAE | 14.1 | 20 |  | 74 | 22188.002 22359.002 22439.002 |
| 00100.003 |  |  |  | 30 |  | 74 |  |
| 00100.004 |  |  |  | 37.5 |  | 70 |  |
| 00100.005 |  |  |  | 45 |  | 69 |  |
| 00100.006 |  |  |  | 52.5 |  | 68 |  |
| 00100.007 |  |  |  | 60 |  | 66 |  |
| 00100.008 |  |  |  | 75 |  | 61 |  |
| 00100.009 |  |  |  | 90 |  | 57 |  |
| 00100.010 |  |  |  | 105 |  | 52 |  |
| 00100.011 |  |  |  | 120 |  | 49 |  |
| 00100.012 |  |  |  | 135 |  | 43 |  |
| 00100.013 |  |  |  | 150 |  | 41 |  |
|  |  |  |  | Sum |  | 724 |  |
| 00101.002 |  | DAP |  |  | 0 | 12 | 22188.014 22359.015 22439.005 |
| 00101.003 |  |  |  |  | 2.185 | 12 | 22188.015 22359.003 22439.003 |
| 00101.004 |  |  |  |  | 3.56 | 12 |  |
| 00101.005 |  |  |  |  | 4.31 | 12 |  |
| 00101.006 |  |  |  |  | 5.7 | 12 |  |

LI7.CBA

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00002.002 | 3-LI-7 | DAE | 5.4 | 30 |  | 12 | 21986.043 |
| 00002.003 |  |  |  | 45 |  | 11 |  |
| 00002.004 |  |  |  | 60 |  | 11 |  |
| 00002.005 |  |  |  | 75 |  | 10 |  |
| 00002.006 |  |  |  | 90 |  | 9 |  |
| 00002.007 |  |  |  | 110 |  | 6 |  |
| 00002.008 |  |  |  | 125 |  | 6 |  |
| 00002.009 |  |  |  | 135 |  | 5 |  |
|  |  |  |  | Sum |  | 70 |  |
| 00002.010 |  |  | 6.0 | 30 |  | 15 | 21986.051 |
| 00002.011 |  |  |  | 45 |  | 14 |  |
| 00002.012 |  |  |  | 60 |  | 13 |  |
| 00002.013 |  |  |  | 75 |  | 12 |  |
| 00002.014 |  |  |  | 90 |  | 10 |  |
| 00002.015 |  |  |  | 105 |  | 9 |  |
| 00002.016 |  |  |  | 115 |  | 9 |  |
| 00002.017 |  |  |  | 125 |  | 8 |  |
| 00002.018 |  |  |  | 135 |  | 7 |  |
| 00002.019 |  |  |  | 150 |  | 7 |  |
|  |  |  |  | Sum |  | 104 |  |
| 00002.020 |  |  | 14.2 | 30 |  | 82 | 21986.061 |
| 00002.021 |  |  |  | 37.5 |  | 78 |  |
| 00002.022 |  |  |  | 43.12 |  | 80 |  |
| 00002.023 |  |  |  | 50 |  | 67 |  |
| 00002.024 |  |  |  | 60 |  | 67 |  |
| 00002.025 |  |  |  | 75 |  | 64 |  |
| 00002.026 |  |  |  | 94.28 |  | 58 |  |
| 00002.027 |  |  |  | 104.21 |  | 55 |  |
| 00002.028 |  |  |  | 120 |  | 50 |  |
| 00002.029 |  |  |  | 135 |  | 46 |  |
| 00002.030 |  |  |  | 150 |  | 44 |  |
|  |  |  |  | Sum |  | 691 |  |

MN55.DAT

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00019.002 | 25-MN-55 | DAE | 14.1 | 25 |  | 76 | 22157.075 |
| 00019.003 |  |  |  | 30 |  | 75 |  |
| 00019.004 |  |  |  | 37.5 |  | 76 |  |
| 00019.005 |  |  |  | 45 |  | 74 |  |
| 00019.006 |  |  |  | 52.5 |  | 75 |  |
| 00019.007 |  |  |  | 60 |  | 75 |  |
| 00019.008 |  |  |  | 80 |  | 75 |  |
| 00019.009 |  |  |  | 90 |  | 73 |  |
| 00019.010 |  |  |  | 105 |  | 73 |  |
| 00019.011 |  |  |  | 120 |  | 72 |  |
| 00019.012 |  |  |  | 135 |  | 70 |  |
| 00019.013 |  |  |  | 150 |  | 71 |  |
|  |  |  |  | Sum |  | 885 |  |
| 00020.002 |  | DAP |  |  | 0+0.136+ | 12 | 22157.087 |
| 00921.002 |  | DE |  |  |  | 74 | ? |

MO.DAT

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00120.002 | 42-MO-0 | DAE | 14.1 | 30 |  | 76 | 22352.004 |
| 00120.003 |  |  |  | 37.5 |  | 76 |  |
| 00120.004 |  |  |  | 45 |  | 76 |  |
| 00120.005 |  |  |  | 60 |  | 76 |  |
| 00120.006 |  |  |  | 75 |  | 76 |  |
| 00120.007 |  |  |  | 90 |  | 75 |  |
| 00120.008 |  |  |  | 120 |  | 74 |  |
| 00120.009 |  |  |  | 150 |  | 72 |  |
|  |  |  |  | Sum |  | 601 |  |
| 00122.002 |  | DE |  |  |  | 74 | 22352.005 |

N14.ONO

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00001.002 | 7-N-14 | DAE | 14.2 | 25 |  | 76 | 21984.067 |
| 00001.003 |  |  |  | 30 |  | 75 |  |
| 00001.004 |  |  |  | 45 |  | 72 |  |
| 00001.005 |  |  |  | 60 |  | 72 |  |
| 00001.006 |  |  |  | 75 |  | 69 |  |
| 00001.007 |  |  |  | 80 |  | 69 |  |
| 00001.008 |  |  |  | 105 |  | 65 |  |
| 00001.009 |  |  |  | 120 |  | 62 |  |
| 00001.010 |  |  |  | 135 |  | 61 |  |
| 00001.011 |  |  |  | 150 |  | 57 |  |
|  |  |  |  | Sum |  | 678 |  |
| 00002.002 |  | DAP |  |  | 0 | 10 | 21984.077 |
| 00003.002 |  | CSP |  |  | 0 | 1 | 21984.078 |

NB11.SDA

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00135.002 | 41-NB-93 | DAE | 11.5 | 20 |  | 33 | 22343.005 |
| 00135.003 |  |  |  | 30 |  | 33 |  |
| 00135.004 |  |  |  | 37.5 |  | 33 |  |
| 00135.005 |  |  |  | 45 |  | 33 |  |
| 00135.006 |  |  |  | 52.5 |  | 33 |  |
| 00135.007 |  |  |  | 60 |  | 33 |  |
| 00135.008 |  |  |  | 75 |  | 32 |  |
| 00135.009 |  |  |  | 90 |  | 46 |  |
| 00135.010 |  |  |  | 105 |  | 32 |  |
| 00135.011 |  |  |  | 135 |  | 32 |  |
| 00135.012 |  |  |  | 150 |  | 30 |  |
|  |  |  |  | Sum |  | 370 |  |

NB93.DAT

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00108.002 | 41-NB-93 | DAE | 14.1 | 30 |  | 76 | 22298.002 |
| 00108.003 |  |  |  | 37.5 |  | 76 |  |
| 00108.004 |  |  |  | 45 |  | 76 |  |
| 00108.005 |  |  |  | 60 |  | 76 |  |
| 00108.006 |  |  |  | 75 |  | 74 |  |
| 00108.007 |  |  |  | 90 |  | 76 |  |
| 00108.008 |  |  |  | 120 |  | 73 |  |
| 00108.009 |  |  |  | 150 |  | 70 |  |
|  |  |  |  | Sum |  | 597 |  |
| 00108.010 |  |  | 18 | 30 |  | 91 | 22298.002 |
| 00108.011 |  |  |  | 45 |  | 91 |  |
| 00108.012 |  |  |  | 60 |  | 91 |  |
| 00108.013 |  |  |  | 75 |  | 90 |  |
| 00108.014 |  |  |  | 90 |  | 90 |  |
| 00108.015 |  |  |  | 120 |  | 89 |  |
| 00108.016 |  |  |  | 145 |  | 88 |  |
|  |  |  |  | Sum |  | 630 |  |
| 00110.002 |  | DE | 14.1 |  |  | 71 | 22298.003 |
| 00110.003 |  |  | 18 |  |  | 92 |  |

NI.DAT

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00025.002 | 28-NI-0 | DAE | 14.1 | 30 |  | 76 | 22025.044 |
| 00025.003 |  |  |  | 37.5 |  | 69 |  |
| 00025.004 |  |  |  | 45 |  | 75 |  |
| 00025.005 |  |  |  | 60 |  | 75 |  |
| 00025.006 |  |  |  | 80 |  | 74 |  |
| 00025.007 |  |  |  | 100 |  | 70 |  |
| 00025.008 |  |  |  | 120 |  | 71 |  |
| 00025.009 |  |  |  | 135 |  | 61 |  |
| 00025.010 |  |  |  | 150 |  | 69 |  |
|  |  |  |  | Sum |  | 640 |  |
| 00025.011 |  |  | 18 | 30 |  | 95 | 22025.044 |
| 00025.012 |  |  |  | 45 |  | 95 |  |
| 00025.013 |  |  |  | 60 |  | 94 |  |
| 00025.014 |  |  |  | 90 |  | 92 |  |
| 00025.015 |  |  |  | 120 |  | 90 |  |
| 00025.016 |  |  |  | 150 |  | 87 |  |
|  |  |  |  | Sum |  | 553 |  |
| 00026.002 |  | DAP | 14.1 |  | 0 | 9 | 22025.059 |
| 00026.003 |  |  |  |  | 1.33+1.45 | 9 | 22025.060 |
| 00027.002 |  | DE |  |  |  | 71 | ? |
| 00027.003 |  |  | 18 |  |  | 96 | 22025.061 |

NI-14.DAT

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00123.002 | 28-NI-0 | DAE | 14.1 | 20 |  | 77 | 22352.010 |
| 00123.003 |  |  |  | 30 |  | 77 |  |
| 00123.004 |  |  |  | 37.5 |  | 76 |  |
| 00123.005 |  |  |  | 45 |  | 76 |  |
| 00123.006 |  |  |  | 52.5 |  | 74 |  |
| 00123.007 |  |  |  | 60 |  | 74 |  |
| 00123.008 |  |  |  | 90 |  | 73 |  |
| 00123.009 |  |  |  | 120 |  | 70 |  |
| 00123.010 |  |  |  | 150 |  | 73 |  |
|  |  |  |  | Sum |  | 670 |  |
| 00125.002 |  | DE | 14.1 |  |  | 74 | 22352.011 |

NP237.FIS

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00165.002 | 93-NP-237 | PFNS | 0.62 |  |  | 27 | 22481.004 |

O16.DAT

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00005.002 | 8-O-16 | DAE | 14.1 | 25 |  | 71 | 22157.015 |
| 00005.003 |  |  |  | 30 |  | 72 |  |
| 00005.004 |  |  |  | 37.5 |  | 63 |  |
| 00005.005 |  |  |  | 45 |  | 62 |  |
| 00005.006 |  |  |  | 52.5 |  | 62 |  |
| 00005.007 |  |  |  | 60 |  | 66 |  |
| 00005.008 |  |  |  | 80 |  | 68 |  |
| 00005.009 |  |  |  | 90 |  | 65 |  |
| 00005.010 |  |  |  | 105 |  | 57 |  |
| 00005.011 |  |  |  | 120 |  | 62 |  |
| 00005.012 |  |  |  | 135 |  | 48 |  |
| 00005.013 |  |  |  | 150 |  | 58 |  |
|  |  |  |  | Sum |  | 754 |  |
| 00005.014 |  |  | 18 | 30 |  | 92 | 22157.015 |
| 00005.015 |  |  |  | 45 |  | 90 |  |
| 00005.016 |  |  |  | 60 |  | 79 |  |
| 00005.017 |  |  |  | 90 |  | 77 |  |
| 00005.018 |  |  |  | 120 |  | 74 |  |
| 00005.019 |  |  |  | 147.5 |  | 68 |  |
|  |  |  |  |  |  | 480 |  |
| 00006.002 |  | DAP | 14.1 |  | 0 | 12 | 22157.033 |
| 00006.003 |  |  |  |  | 6.05+6.13 | 12 | 22157.034 |
| 00006.004 |  |  |  |  | 6.92+7.12 | 12 |  |
| 00006.005 |  |  |  |  | 8.872 | 12 |  |
| 00006.006 |  |  | 18 |  | 0 | 12 | 22157.033 |
| 00006.007 |  |  |  |  | 6.05+6.13 | 12 | 22157.034 |
| 00006.008 |  |  |  |  | 8.872 | 12 |  |

O16.ONO

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00001.002 | 8-O-16 | DAE | 14.2 | 25 |  | 76 | 21984.079 |
| 00001.003 |  |  |  | 30 |  | 75 |  |
| 00001.004 |  |  |  | 45 |  | 72 |  |
| 00001.005 |  |  |  | 60 |  | 69 |  |
| 00001.006 |  |  |  | 75 |  | 69 |  |
| 00001.007 |  |  |  | 80 |  | 70 |  |
| 00001.008 |  |  |  | 105 |  | 65 |  |
| 00001.009 |  |  |  | 120 |  | 60 |  |
| 00001.010 |  |  |  | 135 |  | 60 |  |
| 00001.011 |  |  |  | 150 |  | 60 |  |
|  |  |  |  | Sum |  | 676 |  |
| 00002.002 |  | DAP |  |  | 0 | 10 | 21984.089 |
| 00002.003 |  |  |  |  | 6.05+6.13 | 10 | 21984.090 |
| 00002.004 |  |  |  |  | 6.92+7.12 | 10 |  |
|  |  |  |  |  | 8.87 | 10 |  |
| 00003.002 |  | CSP |  |  | 0 | 1 | 21984.093 |
| 00003.003 |  |  |  |  | 6.05+6.13 | 1 | 21984.094 |
| 00003.004 |  |  |  |  | 6.92+7.12 | 1 |  |
| 00003.005 |  |  |  |  | 8.87 | 1 |  |

SI18.DAT

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00162.002 | 14-SI-28 | DAE | 18 | 45 |  | 92 | 22343.008 |
| 00162.003 |  |  |  | 60 |  | 92 |  |
| 00162.004 |  |  |  | 75 |  | 87 |  |
| 00162.005 |  |  |  | 90 |  | 84 |  |
| 00162.006 |  |  |  | 120 |  | 83 |  |
| 00162.007 |  |  |  | 150 |  | 78 |  |
|  |  |  |  | Sum |  | 516 |  |

SI28.ONO

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00001.002 | 14-SI-28 | DAE | 14.2 | 25 |  | 76 | 21984.109 |
| 00001.003 |  |  |  | 30 |  | 76 |  |
| 00001.004 |  |  |  | 45 |  | 73 |  |
| 00001.005 |  |  |  | 60 |  | 74 |  |
| 00001.006 |  |  |  | 75 |  | 73 |  |
| 00001.007 |  |  |  | 80 |  | 72 |  |
| 00001.008 |  |  |  | 105 |  | 69 |  |
| 00001.009 |  |  |  | 120 |  | 69 |  |
| 00001.010 |  |  |  | 135 |  | 68 |  |
| 00001.011 |  |  |  | 150 |  | 65 |  |
|  |  |  |  | Sum |  | 715 |  |
| 00002.002 |  | DAP |  |  | 0 | 10 | 21984.119 |
| 00002.003 |  |  |  |  | 1.779 | 10 | 21984.120 |
| 00002.004 |  |  |  |  | 4.614 | 10 |  |
| 00003.002 |  | CSP |  |  | 1.779 | 1 | 21984.122 |
| 00003.003 |  |  |  |  | 4.610 | 1 |  |

TA11.SDA

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00144.002 | 73-TA-181 | DAE | 11.5 | 30 |  | 32 | 22343.006 |
| 00144.003 |  |  |  | 37.5 |  | 32 |  |
| 00144.004 |  |  |  | 45 |  | 32 |  |
| 00144.005 |  |  |  | 60 |  | 32 |  |
| 00144.006 |  |  |  | 75 |  | 32 |  |
| 00144.007 |  |  |  | 90 |  | 47 |  |
| 00144.008 |  |  |  | 120 |  | 32 |  |
| 00144.009 |  |  |  | 150 |  | 32 |  |
|  |  |  |  | Sum |  | 271 |  |

TA181.DAT

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00117.002 | 73-TA-181 | DAE | 14.1 | 30 |  | 76 | 22352.008 |
| 00117.003 |  |  |  | 37.5 |  | 76 |  |
| 00117.004 |  |  |  | 45 |  | 76 |  |
| 00117.005 |  |  |  | 60 |  | 76 |  |
| 00117.006 |  |  |  | 75 |  | 75 |  |
| 00117.007 |  |  |  | 90 |  | 75 |  |
| 00117.008 |  |  |  | 120 |  | 73 |  |
| 00117.009 |  |  |  | 150 |  | 74 |  |
|  |  |  |  | Sum |  | 601 |  |
| 00119.002 |  | DE |  |  |  | 74 | 22352.009 |

TH.DAT

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00034.002 | 90-TH-0 | DAE | 1.2 | 60 |  | 71 | 22158.002 |
| 00034.003 |  |  |  | 120 |  | 70 |  |
|  |  |  |  | Sum |  | 141 |  |
| 00035.002 |  |  | 2.03 | 30 |  | 77 | 22158.002 |
| 00035.003 |  |  |  | 37.5 |  | 82 |  |
| 00035.004 |  |  |  | 45 |  | 80 |  |
| 00035.005 |  |  |  | 60 |  | 82 |  |
| 00035.006 |  |  |  | 75 |  | 78 |  |
| 00035.007 |  |  |  | 90 |  | 80 |  |
| 00035.008 |  |  |  | 120 |  | 84 |  |
| 00035.009 |  |  |  | 150 |  | 84 |  |
|  |  |  |  | Sum |  | 647 |  |
| 00036.002 |  | DE |  |  |  | 89 | 22158.003 |
| 00037.002 |  | DAE | 4.25 | 30 |  | 55 | 22158.002 |
| 00037.003 |  |  |  | 45 |  | 54 |  |
| 00037.004 |  |  |  | 60 |  | 55 |  |
| 00037.005 |  |  |  | 90 |  | 55 |  |
| 00037.006 |  |  |  | 120 |  | 54 |  |
| 00037.007 |  |  |  | 150 |  | 54 |  |
|  |  |  |  | Sum |  | 327 |  |
| 00038.002 |  | DE |  |  |  | 82 | 22158.003 |
| 00039.002 |  | DAE | 6.1 | 30 |  | 73 | 22158.002 |
| 00039.003 |  |  |  | 45 |  | 72 |  |
| 00039.004 |  |  |  | 60 |  | 71 |  |
| 00039.005 |  |  |  | 75 |  | 73 |  |
| 00039.006 |  |  |  | 90 |  | 72 |  |
| 00039.007 |  |  |  | 120 |  | 73 |  |
| 00039.008 |  |  |  | 150 |  | 72 |  |
|  |  |  |  | Sum |  | 506 |  |
| 00040.002 |  | DE |  |  |  | 81 | 22158.003 |
| 00041.002 |  | DAE | 14.05 | 30 |  | 77 | 22158.002 |
| 00041.003 |  |  |  | 45 |  | 77 |  |
| 00041.004 |  |  |  | 60 |  | 76 |  |
| 00041.005 |  |  |  | 75 |  | 76 |  |
| 00041.006 |  |  |  | 90 |  | 74 |  |
| 00041.007 |  |  |  | 120 |  | 73 |  |
| 00041.008 |  |  |  | 150 |  | 74 |  |
|  |  |  |  | Sum |  | 527 |  |
| 00042.002 |  | DE |  |  |  | 85 | 22158.003 |

TH-18.DAT

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00104.002 | 90-TH-0 | DAE | 18 | 30 |  | 72 | 22353.002 |
| 00104.003 |  |  |  | 45 |  | 72 |  |
| 00104.004 |  |  |  | 60 |  | 72 |  |
| 00104.005 |  |  |  | 75 |  | 72 |  |
| 00104.006 |  |  |  | 90 |  | 72 |  |
| 00104.007 |  |  |  | 120 |  | 71 |  |
|  |  |  |  | Sum |  | 431 |  |
| 00105.002 |  | DE |  |  |  | 72 | 22353.003 |

TH232.FIS

The Tohoku library adopts the EXFOR 22112.004.

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 22112.004 | 90-TH-232 | PFNS | 2 |  |  | 29 | 22112.004 |

TI.DAT

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00010.002 | 22-TI-0 | DAE | 14.1 | 25 |  | 76 | 22077.018 |
| 00010.003 |  |  |  | 30 |  | 76 |  |
| 00010.004 |  |  |  | 37.5 |  | 68 |  |
| 00010.005 |  |  |  | 45 |  | 75 |  |
| 00010.006 |  |  |  | 52.5 |  | 75 |  |
| 00010.007 |  |  |  | 60 |  | 74 |  |
| 00010.008 |  |  |  | 80 |  | 70 |  |
| 00010.009 |  |  |  | 100 |  | 70 |  |
| 00010.010 |  |  |  | 120 |  | 69 |  |
| 00010.011 |  |  |  | 135 |  | 70 |  |
| 00010.012 |  |  |  | 150 |  | 69 |  |
|  |  |  |  | Sum |  | 792 |  |
| 00011.002 |  | DAP |  |  | 0.983 | 9 | 22077.029 |
| 00011.003 |  |  |  |  | 2.56 | 11 |  |
| 00011.004 |  |  |  |  | 3.17 | 11 |  |
| 00012.002 |  | DE |  |  |  | 74 | ? |

U.DAT

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00043.002 | 92-U-0 | DAE | 1.2 | 60 |  | 79 | 22158.004 |
| 00043.003 |  |  |  | 120 |  | 84 |  |
|  |  |  |  | Sum |  | 163 |  |
| 00044.002 |  |  | 2.03 | 30 |  | 83 | 22158.004 |
| 00044.003 |  |  |  | 37.5 |  | 83 |  |
| 00044.004 |  |  |  | 45 |  | 84 |  |
| 00044.005 |  |  |  | 60 |  | 84 |  |
| 00044.006 |  |  |  | 75 |  | 84 |  |
| 00044.007 |  |  |  | 90 |  | 84 |  |
| 00044.008 |  |  |  | 120 |  | 84 |  |
| 00044.009 |  |  |  | 150 |  | 83 |  |
|  |  |  |  | Sum |  | 669 |  |
| 00045.002 |  | DAP |  |  | 0+0.0449+ | 8 | 22158.006 |
| 00046.002 |  | DE |  |  |  | 89 | 22158.005 |
| 00047.002 |  | DAE | 4.25 | 30 |  | 55 | 22158.004 |
| 00047.003 |  |  |  | 45 |  | 55 |  |
| 00047.004 |  |  |  | 60 |  | 55 |  |
| 00047.005 |  |  |  | 90 |  | 55 |  |
| 00047.006 |  |  |  | 120 |  | 54 |  |
| 00047.007 |  |  |  | 150 |  | 54 |  |
|  |  |  |  | Sum |  | 328 |  |
| 00048.002 |  | DAP |  |  | 0+0.0449+ | 6 | 22158.007 |
| 00049.002 |  | DE |  |  |  | 82 | 22158.005 |
| 00050.002 |  | DAE | 6.1 | 30 |  | 73 | 22158.004 |
| 00050.003 |  |  |  | 45 |  | 73 |  |
| 00050.004 |  |  |  | 60 |  | 73 |  |
| 00050.005 |  |  |  | 75 |  | 73 |  |
| 00050.006 |  |  |  | 90 |  | 73 |  |
| 00050.007 |  |  |  | 120 |  | 73 |  |
| 00050.008 |  |  |  | 150 |  | 73 |  |
|  |  |  |  | Sum |  | 511 |  |
| 00051.002 |  | DAP |  |  | 0+0.0449+ | 7 | 22158.007 |
| 00052.002 |  | DE |  |  |  | 81 | 22158.005 |
| 00053.002 |  | DAE | 14.05 | 30 |  | 77 | 22158.004 |
| 00053.003 |  |  |  | 45 |  | 77 |  |
| 00053.004 |  |  |  | 60 |  | 76 |  |
| 00053.005 |  |  |  | 75 |  | 76 |  |
| 00053.006 |  |  |  | 90 |  | 76 |  |
| 00053.007 |  |  |  | 120 |  | 75 |  |
| 00053.008 |  |  |  | 150 |  | 75 |  |
|  |  |  |  |  |  | 532 |  |
| 00054.002 |  | DE |  |  |  | 85 | 22158.005 |

U-18.DAT

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00106.002 | 92-U-0 | DAE | 18 | 30 |  | 72 | 22353.004 |
| 00106.003 |  |  |  | 45 |  | 71 |  |
| 00106.004 |  |  |  | 60 |  | 72 |  |
| 00106.005 |  |  |  | 75 |  | 72 |  |
| 00106.006 |  |  |  | 90 |  | 71 |  |
| 00106.007 |  |  |  | 120 |  | 70 |  |
|  |  |  |  | Sum |  | 428 |  |
| 00107.002 |  | DE |  |  |  | 72 | 22353.005 |

U233.FIS

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00166.002 | 92-U-233 | PFNS | 0.55 | 90 |  | 66 | 22688.002 |

U238.FIS

The Tohoku library adopts the EXFOR 22112.002-003.

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 22112.002 | 92-U-238 | PFNS | 2 |  |  | 30 | 22112.002 |
| 22112.003 |  |  |  |  |  | 31 | 22112.003 |

V51.DAT

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00013.002 | 23-V-51 | DAE | 14.05 | 25 |  | 76 | 22157.061 |
| 00013.003 |  |  |  | 30 |  | 76 |  |
| 00013.004 |  |  |  | 37.5 |  | 75 |  |
| 00013.005 |  |  |  | 45 |  | 75 |  |
| 00013.006 |  |  |  | 52.5 |  | 76 |  |
| 00013.007 |  |  |  | 60 |  | 73 |  |
| 00013.008 |  |  |  | 80 |  | 69 |  |
| 00013.009 |  |  |  | 90 |  | 71 |  |
| 00013.010 |  |  |  | 105 |  | 73 |  |
| 00013.011 |  |  |  | 120 |  | 72 |  |
| 00013.012 |  |  |  | 135 |  | 71 |  |
| 00013.013 |  |  |  | 150 |  | 71 |  |
|  |  |  |  | Sum |  | 878 |  |
| 00014.002 |  | DAP |  |  | 0+0.93 | 12 | 22157.073 |
| 00015.002 |  | DE |  |  |  | 73 | ? |

W.DAT

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00129.002 | 74-W-0 | DAE | 14.1 | 20 |  | 77 | 22352.006 |
| 00129.003 |  |  |  | 30 |  | 76 |  |
| 00129.004 |  |  |  | 37.5 |  | 77 |  |
| 00129.005 |  |  |  | 45 |  | 77 |  |
| 00129.006 |  |  |  | 52.5 |  | 75 |  |
| 00129.007 |  |  |  | 60 |  | 74 |  |
| 00129.008 |  |  |  | 80 |  | 75 |  |
| 00129.009 |  |  |  | 90 |  | 74 |  |
| 00129.010 |  |  |  | 120 |  | 72 |  |
| 00129.011 |  |  |  | 150 |  | 72 |  |
|  |  |  |  | Sum |  | 749 |  |
| 00131.002 |  | DE |  |  |  | 74 | 22352.007 |

ZR.DAT

| Tohoku | Target | Quant. | En (MeV) | θ (deg) | Ex (MeV) | pts | EXFOR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 00031.002 | 40-ZR-0 | DAE | 14.1 | 30 |  | 76 | 22077.033 |
| 00031.003 |  |  |  | 37.5 |  | 71 |  |
| 00031.004 |  |  |  | 45 |  | 75 |  |
| 00031.005 |  |  |  | 52.5 |  | 68 |  |
| 00031.006 |  |  |  | 60 |  | 75 |  |
| 00031.007 |  |  |  | 70 |  | 69 |  |
| 00031.008 |  |  |  | 80 |  | 75 |  |
| 00031.009 |  |  |  | 100 |  | 74 |  |
| 00031.010 |  |  |  | 120 |  | 74 |  |
| 00031.011 |  |  |  | 135 |  | 71 |  |
| 00031.012 |  |  |  | 150 |  | 72 |  |
|  |  |  |  | Sum |  | 800 |  |
| 00031.013 |  |  | 18 | 30 |  | 96 | 22077.033 |
| 00031.014 |  |  |  | 45 |  | 96 |  |
| 00031.015 |  |  |  | 60 |  | 96 |  |
| 00031.016 |  |  |  | 90 |  | 95 |  |
| 00031.017 |  |  |  | 120 |  | 93 |  |
| 00031.018 |  |  |  | 150 |  | 93 |  |
|  |  |  |  | Sum |  | 569 |  |
| 00032.002 |  | DAP | 14.1 |  | 2.5 | 11 | 22077.044 |
| 00032.003 |  |  |  |  | 3.8 | 11 |  |
| 00033.002 |  | DE |  |  |  | 80 | 22077.046 |
| 00033.003 |  |  | 18 |  |  | 95 |  |