Nuclear Data Section

International Atomic Energy Agency

P.O.Box 100, A-1400 Vienna, Austria

Memo 4C-3/402 (Rev.)

Date:		21 September 2016

To:		Distribution

From:		N. Otsuka

Subject:		Experimental thermal constants adopted by Axton

Reference:	4C-3/405

Thermal constants evaluated by Axton [1] are treated as “quasi-experimental data” in the least-squares analysis for the IAEA Neutron Cross-Section Standards. Following a request from this project, I checked the status of the experimental data points adopted by Axton against EXFOR with Mr Takuma Kawai (IAEA intern from Waseda Univ.), and found some data points missing in EXFOR as summarized below.

NNDC and NEA DB are requested to compile EXFOR related data points in these articles. (Some of them are summarized in Memo 4C-3/405.)

Experimental works in Axton’s database missing in EXFOR

(See Appendix for more details about each data point.)

PtID: Data point ID shown in the last column of Table 1 of Ref. [1].

| PtID | Author | Reference | Lab | Centre | Remark |
| --- | --- | --- | --- | --- | --- |
| 8 9 10 | R.L.G.Keith+ | J,JNE,22,477,1968 | 2UK ALD | NEA DB | 23309 (in compilation) |
| 25 | F.W.Cornish | R,NRDC-129,1960 | 2UK HAR | NEA DB | 23310 (in compilation) |
| 28 29 | F.Lisman+ | R,IN-1178,1968 | 1USA MTR | NNDC | FY of this work in 13270. |
| 37 | D.R.deBoisblanc+ | J,ANS,4,270,1961 | 1USAMTR | NNDC |  |
| 40 41 42 43 | M.J.Cabell+ | R,AERE-R-4946,1965 | 2UK HAR | NEA DB | 23311 (in compilation) |
| 72 | R.L.Zimmerman+ | (unpublished) | 1USABNL | NNDC | 52081 in the past |
| 77 | H.Muether+ | (unpublished) | 1USABNL | NNDC | 50645 in the past |

Reference

[1] E.J. Axton, Report GE/PH/01/86, EC-JRC Central Bureau for Nuclear Measurements, 1986.

Distribution:

aikawa@jcprg.org

a.koning@iaea.org

aloks279@gmail.com

cgc@ciae.ac.cn

dvoytenkov@ippe.ru

dbrown@bnl.gov

fukahori.tokio@jaea.go.jp

ganesan555@gmail.com

gezg@ciae.ac.cn

iwamoto.osamu@jaea.go.jp

jhchang@kaeri.re.kr

jmwang@ciae.ac.cn

kaltchenko@kinr.kiev.ua

kato@nucl.sci.hokudai.ac.jp

kiyoshi.matsumoto@oecd.org

manuel.bossant@oecd.org

manokhin@ippe.ru

marema08@gmail.com

mmarina@ippe.ru

mwherman@bnl.gov

nicolas.soppera@oecd.org

n.otsuka@iaea.org

nrdc@jcprg.org

nurzat.kenzhebaev@gmail.com

ogritzay@kinr.kiev.ua

oscar.cabellos@oecd.org

otto.schwerer@aon.at

pikulina@expd.vniief.ru

pritychenko@bnl.gov

samaev@obninsk.ru

sbabykina@yandex.ru

scyang@kaeri.re.kr

selyankina@expd.vniief.ru

s.a.dunaeva@yandex.ru

s.simakov@iaea.org

stakacs@atomki.hu

stanislav.hlavac@savba.sk

sv.dunaeva@gmail.com

taova@expd.vniief.ru

tarkanyi@atomki.hu

vvvarlamov@gmail.com

v.semkova@iaea.org

v.zerkin@iaea.org

yolee@kaeri.re.kr

zhuangyx@ciae.ac.cn

cc:

r.capotenoy@iaea.org

Appendix: Experimental thermal constants adopted in Axton’s evaluation and their status in EXFOR

PtID and RefID: Data point ID and reference ID shown in the second and last column of Table 1 of the Axton’s report.

Quantity: See their definitions in the caption of Table 1 of the Axton’s report. Not all of them are for EXFOR compilation.

EXFOR #:

- Five digits entry number means the article is in EXFOR but the quantity is not seen in the article.

- Subentry number 000 means the article is in EXFOR and the quantity is in the article, but missing in EXFOR. Probably for additional compilation.

| PtID | Ref ID | Quantity | Axton | EXFOR | X4/Axton | EXFOR # | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | value | Unc.% | Unc. | value | Unc.% | Unc. |  |  |  |
| 1 | 1972(2) | FA39/FA35 | 1.6491E+00 | 0.583 | 9.6143E-03 |  |  |  |  |  | OSCIP |
| 2 | 1956(2) | CAP39 | 3.1200E+02 | 4.490 | 1.4009E+01 |  |  |  |  | 12367 | CDDIFF |
| 3 | 1963(2) | CAP33 | 4.9530E+01 | 6.400 | 3.1699E+00 | 5.1700E+01 | 5.000 | 2.5850E+00 | 1.044 | 12335.002 | CADDIF, Co monitor |
| 4 | 1971(2) | FLEM | 9.8270E-02 | 3.348 | 3.2901E-03 |  |  |  |  | 20459 | T=116 deg |
| 5 | 1982(1) | CAP34 | 9.5900E+01 | 2.086 | 2.0005E+00 |  |  |  |  |  | Mean from two experiments (Note 8.5) |
| 6 | 1953(2) | FF35 | 5.7110E+02 | 2.211 | 1.2627E+01 |  |  |  |  |  |  |
| 7 | 1955(2) | 33FFH33 | 8.4472E+02 | 3.147 | 2.6583E+01 |  |  |  |  | 20047 | Not for EXFOR |
| 8 | 1968(2) | 33FFH33 | 8.3415E+02 | 1.371 | 1.1436E+01 |  |  |  |  | 23309 | T=35 deg, Co monitor, FIS33 should be in EXFOR. |
| 9 | 1968(2) | 33FFH35 | 8.8901E+02 | 1.446 | 1.2855E+01 |  |  |  |  | 23309 | T=35 deg, Co monitor, FIS35 should be in EXFOR. |
| 10 | 1968(2) | 39FFH39 | 1.8844E+03 | 0.949 | 1.7883E+01 |  |  |  |  | 23309 | T=35 deg, Co monitor, FIS39 should be in EXFOR. |
| 11 | 1975(2) | 33FFH33 | 8.3520E+02 | 0.659 | 5.5040E+00 |  |  |  |  | 12356 | THCOL |
| 12 | 1955(2) | FF41/FF39 | 1.3552E+00 | 1.424 | 1.9298E-02 | 1.3620E+00 | 1.689 | 2.3000E-02 | 1.005 | 12521.003 | THCOL |
| 13 | 1967(2) | FF39/FF35 | 1.3583E+00 | 2.139 | 2.9054E-02 | 1.3850E+00 | 1.800 | 2.0000E-02 | 1.020 | 21494.008 | THCOL, T=30 deg |
| 14 | 1967(2) | FF41/FF35 | 1.8806E+00 | 2.802 | 5.2694E-02 | 1.9200E+00 | 2.448 | 4.7000E-02 | 1.021 | 21494.009 | THCOL, T=30 deg |
| 15 | 1970(2) | FF33/FF35 | 9.3200E-01 | 0.966 | 9.0031E-03 | 9.3100E-01 | 0.537 | 5.0000E-03 | 0.999 | 20552.000 | T=20 deg. Should be in EXFOR. |
| 16 | 1975(2) | FF33/FF35 | 9.3230E-01 | 0.450 | 4.1954E-03 | 9.3330E-01 | 0.140 | 1.3066E-03 | 1.001 | 12356.002 | THCOL, T=27 deg |
| 17 | 1973(2) | 39FFH39/34FFH35 | 1.3544E+00 | 1.414 | 1.9151E-02 |  |  |  |  |  |  |
| 18 | 1975(2) | 39FFH39/33FFH33 | 2.2796E+00 | 0.669 | 1.5251E-02 |  |  |  |  | 12356 | THCOL |
| 19 | 1975(2) | 39FFH39/33FFH35 | 2.1239E+00 | 0.709 | 1.5058E-02 |  |  |  |  | 12356 | THCOL |
| 20 | 1975(2) | F1BIG | 5.5270E-01 | 0.562 | 3.1062E-03 |  |  |  |  | 12356 | THCOL |
| 21 | 1970(1) | CA33/FIS33 | 8.6100E-02 | 2.239 | 1.9278E-03 | 8.9900E-02 | 0.445 | 4.0000E-04 | 1.044 | 10013.002 | BURN, MASSP, T=37.5 deg |
| 22 | 1970(1) | CA35/FIS35 | 1.6970E-01 | 1.709 | 2.9002E-03 | 1.7020E-01 | 0.411 | 7.0000E-04 | 1.003 | 10013.003 | BURN, MASSP, T=37.5 deg |
| 23 | 1970(1) | CA39/FIS39 | 3.5550E-01 | 1.603 | 5.6987E-03 | 3.5970E-01 | 0.584 | 2.1000E-03 | 1.012 | 10013.004 | BURN, MASSP, T=37.5 deg |
| 24 | 1956(2) | CAP33/FF33 | 9.4030E-02 | 3.190 | 2.9996E-03 |  |  |  |  | 12351? | kT=0.025 eV assumed |
| 25 | 1960(2) | CAP35/FF35 | 1.8800E-01 | 7.447 | 1.4000E-02 |  |  |  |  | 23310 | T=60 degC; CA35/FIS35 should be in EXFOR. |
| 26 | 1964(2) | CAP33/FF33 | 9.0200E-02 | 1.731 | 1.5614E-03 |  |  |  |  | 12350 | BURN,MASSP; T=40 deg; CA33/FIS33 in 12350.003 |
| 27 | 1964A(2) | CAP35/FF35 | 1.7050E-01 | 1.056 | 1.8005E-03 |  |  |  |  | 12420 | BURN,MASSP; T=40 deg; CA35/FIS35 in 12420.002 |
| 28 | 1967(2) | CAP33/FF33 | 9.3000E-02 | 2.128 | 1.9790E-03 |  |  |  |  |  | BURN,MASSP |
| 29 | 1967(2) | CAP35/FF35 | 1.7120E-01 | 0.886 | 1.5168E-03 |  |  |  |  | 10000 | BURN,MASSP; CA35/FIS35 should be in EXFOR from [4]. |
| 30 | 1967(2) | CAP33/FF33 | 8.5100E-02 | 4.935 | 4.1997E-03 |  |  |  |  | 12313 | CDDIFF, Co monitor |
| 31 | 1967(2) | CAP35/FF35 | 1.7050E-01 | 4.223 | 7.2002E-03 |  |  |  |  | 12313 | CDDIFF. Co monitor |
| 32 | 1967(2) | CAP35/FF35 | 1.7460E-01 | 1.145 | 1.9992E-03 |  |  |  |  | 12428 |  |
| 33 | 1967(2) | CAP39/FF39 | 3.8820E-01 | 1.520 | 5.9006E-03 |  |  |  |  | 12428 |  |
| 34 | 1971(2) | CAP33/FF33 | 8.5700E-02 | 3.048 | 2.6121E-03 |  |  |  |  | 20459 | T=116 deg |
| 35 | 1971(2) | CAP35/FF35 | 1.6960E-01 | 1.759 | 2.9833E-03 |  |  |  |  | 20459 | T=116 deg |
| 36 | 1971(2) | CAP39/FF39 | 3.8120E-01 | 4.808 | 1.8328E-02 |  |  |  |  | 20459 | T=116 deg |
| 37 | 1961(2) | F1ETA33/F1ETA35 | 1.1150E+00 | 0.717 | 7.9946E-03 | 1.1150E+00 | 0.717 | 8.0000E-03 | 1.000 | 10000.000 | spc. Index from Au/Cu?; T=25 deg. Should be in EXFOR. |
| 38 | 1960(2) | F1ETA39/F1ETA35 | 9.9700E-01 | 1.625 | 1.6201E-02 | 9.9820E-01 | 0.821 | 8.2000E-03 | 1.001 | 12505.002 | spec.index from Au/Cu |
| 39 | 1960(2) | F1ETA41/F1ETA35 | 1.0528E+00 | 1.653 | 1.7403E-02 | 1.0472E+00 | 0.764 | 8.0000E-03 | 0.995 | 12505.003 | spec.index from Au/Cu |
| 40 | 1965(2) | F3ETA33/F3ETA35 | 1.0461E+00 | 2.357 | 2.4657E-02 |  |  |  |  | 23311 | OSCIP; ETA33/ETA35 should be in EXFOR. |
| 41 | 1965(2) | F3ETA39/F3ETA35 | 1.6079E+00 | 2.403 | 3.8638E-02 |  |  |  |  | 23311 | OSCIP; ETA39/ETA35 should be in EXFOR. |
| 42 | 1965(2) | F3ETA33/F3ETA35 | 1.0309E+00 | 3.919 | 4.0401E-02 |  |  |  |  | 23311 | OSCIP; ETA33/ETA35 should be in EXFOR. |
| 43 | 1965(2) | F3ETA39/F3ETA35 | 1.6223E+00 | 4.161 | 6.7504E-02 |  |  |  |  | 23311 | OSCIP; ETA39/ETA35 should be in EXFOR. |
| 44 | 1962(2) | F2ETA33/F2ETA35 | 9.5300E-01 | 1.414 | 1.3475E-02 | 9.5300E-01 | 1.469 | 1.4000E-02 | 1.000 | 10207.009 | THCOL |
| 45 | 1962(2) | F2ETA39/F2ETA35 | 1.6310E+00 | 1.414 | 2.3062E-02 | 1.6310E+00 | 1.410 | 2.3000E-02 | 1.000 | 10207.010 | THCOL |
| 46 | 1962A(2) | F3ETA33 | 7.4470E+02 | 0.537 | 3.9990E+00 |  |  |  |  | 10208 |  |
| 47 | 1962A(2) | F3ETA35 | 7.2270E+02 | 0.540 | 3.9026E+00 |  |  |  |  | 10208 |  |
| 48 | 1972(2) | F3ETA39/F3ETA35 | 1.6058E+00 | 1.107 | 1.7776E-02 |  |  |  |  |  | OSCIP |
| 49 | 1972(2) | F3ETA41/F3ETA39 | 1.4687E+00 | 3.580 | 5.2579E-02 |  |  |  |  |  | OSCIP |
| 50 | 1956(2) | F3ETA33/F3ETA35 | 1.0390E+00 | 3.561 | 3.6999E-02 |  |  |  |  | 40804 | Reactivity coefficient |
| 51 | 1956(2) | F3ETA39/F3ETA35 | 1.5650E+00 | 6.709 | 1.0500E-01 |  |  |  |  | 40804 | Reactivity coefficient |
| 52 | 1959(2) | F3ETA33/F3ETA35 | 1.0221E+00 | 1.811 | 1.8510E-02 |  |  |  |  | 12361 | OSCIP, ETA33 in EXFOR |
| 53 | 1959(2) | F3ETA39/F3ETA35 | 1.6043E+00 | 2.271 | 3.6434E-02 |  |  |  |  | 12361 | OSCIP, ETA39 in EXFOR |
| 54 | 1984(2) | WGA33 | 9.9884E-01 | 0.120 | 1.1986E-03 |  |  |  |  |  | Initial value based on on ENDF/B-V and Westcott 1969? (Table 28) |
| 55 | 1984(2) | WGA35 | 9.7870E-01 | 0.092 | 9.0040E-04 |  |  |  |  |  | Initial value based on on ENDF/B-V and Westcott 1969? (Table 28) |
| 56 | 1984(2) | WGA39 | 1.0767E+00 | 0.269 | 2.8963E-03 |  |  |  |  |  | Initial value based on on ENDF/B-V and Westcott 1969? (Table 28) |
| 57 | 1984(2) | WGA41 | 1.0444E+00 | 0.191 | 1.9948E-03 |  |  |  |  |  | Initial value based on on ENDF/B-V and Westcott 1969? (Table 28) |
| 58 | 1984(2) | WGF33 | 9.9664E-01 | 0.201 | 2.0032E-03 |  |  |  |  |  | Initial value based on on ENDF/B-V and Westcott 1969? (Table 28) |
| 59 | 1985(3) | WGF35 | 9.7780E-01 | 0.092 | 8.9958E-04 |  |  |  |  |  |  |
| 60 | 1984(2) | WGF39 | 1.0562E+00 | 0.275 | 2.9046E-03 |  |  |  |  |  | Initial value based on on ENDF/B-V and Westcott 1969? (Table 28) |
| 61 | 1984(2) | WGF41 | 1.0452E+00 | 0.670 | 7.0028E-03 |  |  |  |  |  | Initial value based on on ENDF/B-V and Westcott 1969? (Table 28) |
| 62 | 1954(1) | ABS35+SCR35 | 7.2433E+02 | 3.590 | 2.6003E+01 | 7.2400E+02 | 2.072 | 1.5000E+01 | 1.000 | 21179.000 | CHOPS |
| 63 | 1953(1) | ABS35+SCR35 | 6.9432E+02 | 2.016 | 1.3997E+01 | 6.9100E+02 | 0.724 | 5.0000E+00 | 0.995 | 12426.002 | SELVE |
| 64 | 1954(1) | ABS35+SCR35 | 7.0032E+02 | 1.428 | 1.0001E+01 | 7.0000E+02 | 0.714 | 5.0000E+00 | 1.000 | 12410.003 | CHOPS |
| 65 | 1955(1) | ABS35+SCA35 | 7.1032E+02 | 2.956 | 2.0997E+01 | 7.1000E+02 | 2.817 | 2.0000E+01 | 1.000 | 41219.007 | TOF, THCOL |
| 66 | 1960(1) | ABS35+SCR35 | 6.9032E+02 | 1.391 | 9.6024E+00 | 6.9000E+02 | 1.449 | 1.0000E+01 | 1.000 | 12329.003 | CHOPF |
| 67 | 1959(1) | ABS35+SCA35 | 6.9632E+02 | 0.359 | 2.4998E+00 | 6.9497E+02 | 0.260 | 1.8100E+00 | 0.998 | 12404.002 | SPECC, liquid cell |
| 68 | 1959(1) | ABS35+SCR35 | 6.9832E+02 | 0.730 | 5.0977E+00 | 6.9868E+02 | 0.688 | 4.8100E+00 | 1.001 | 12404.003 | SPECC, metal foil |
| 69 | 1960(1) | ABS35+SCR35 | 6.9332E+02 | 0.721 | 4.9988E+00 | 6.9300E+02 | 0.722 | 5.0000E+00 | 1.000 | 12024.013 | CHOPF |
| 70 | 1961(1) | ABS35+SCR35 | 6.9632E+02 | 0.359 | 2.4998E+00 | 6.9420E+02 | 0.216 | 1.5000E+00 | 0.997 | 12406.003 | CHOPF, metal foil |
| 71 | 1962(1) | ABS35 | 6.7031E+02 | 2.089 | 1.4003E+01 | 6.7000E+02 | 1.194 | 8.0000E+00 | 1.000 | 40651.002 | SELVE |
| 72 | 1955(1) | ABS39+SCR39 | 1.0225E+03 | 1.271 | 1.2996E+01 |  |  |  |  | 52081 | Copy of this entry available for restoration? |
| 73 | 1955(1) | ABS39+SCA39 | 1.0405E+03 | 2.979 | 3.0996E+01 | 1.0400E+03 | 2.885 | 3.0000E+01 | 1.000 | 41219.009 | TOF, THCOL |
| 74 | 1958(1) | ABS39+SCR39 | 1.0225E+03 | 1.369 | 1.3998E+01 | 1.0150E+03 | 0.985 | 1.0000E+01 | 0.993 | 12502.002 | CHOPF |
| 75 | 1956A(1) | ABS39+SCR39 | 1.0125E+03 | 3.003 | 3.0405E+01 | 1.0150E+03 | 2.956 | 3.0000E+01 | 1.002 | 21033.003 | CHOPS |
| 76 | 1961(1) | ABS39+SCR39 | 1.0185E+03 | 0.727 | 7.4045E+00 | 1.0180E+03 | 0.786 | 8.0000E+00 | 1.000 | 12507.002 | SPECC, metal foil |
| 77 | 1954(1) | ABS33+SCR33 | 5.9727E+02 | 2.344 | 1.4000E+01 |  |  |  |  | 50645 | Copy of this entry available for restoration? |
| 78 | 1955(1) | ABS33+SCR33 | 5.7726E+02 | 3.638 | 2.1001E+01 | 5.8000E+02 | 3.448 | 2.0000E+01 | 1.005 | 41219.003 | TOF, THCOL |
| 79 | 1956(1) | ABS33+SCR33 | 5.9627E+02 | 3.019 | 1.8001E+01 | 5.9000E+02 | 2.542 | 1.5000E+01 | 0.989 | 21065.003 | CHOPS |
| 80 | 1957(1) | ABS33 | 5.7426E+02 | 3.483 | 2.0001E+01 | 5.7800E+02 | 2.941 | 1.7000E+01 | 1.007 | 21186.002.3 | OSCIP, Compiled as FA33 in EXFOR |
| 81 | 1960(1) | ABS33+SCR33 | 5.8727E+02 | 0.800 | 4.6982E+00 | 5.8700E+02 | 1.022 | 6.0000E+00 | 1.000 | 12341.005 | CHOPF |
| 82 | 1960(1) | ABS33+SCA33 | 5.8577E+02 | 0.990 | 5.7991E+00 | 5.8700E+02 | 0.852 | 5.0000E+00 | 1.002 | 12362.003 | SPECC, liquid sample |
| 83 | 1960(1) | ABS33+SCR33 | 5.8567E+02 | 0.410 | 2.4012E+00 | 5.8600E+02 | 0.341 | 2.0000E+00 | 1.001 | 12362.004 | SPECC, metal foil |
| 84 | 1960(1) | ABS33+SCR33 | 5.8727E+02 | 0.511 | 3.0009E+00 | 5.8700E+02 | 0.511 | 3.0000E+00 | 1.000 | 12024.012 | CHOPF |
| 85 | 1961(1) | ABS41+SCA41 | 1.3866E+03 | 3.606 | 5.0001E+01 |  |  |  |  | 12537 | CHOPF |
| 86 | 1964(1) | ABS41+SCA41 | 1.3806E+03 | 2.897 | 3.9996E+01 | 1.3830E+03 | 2.169 | 3.0000E+01 | 1.002 | 12528.017 | CHOPF |
| 87 | 1984(3) | ABS41+SCR41 | 1.3956E+03 | 1.433 | 1.9999E+01 | 1.3950E+03 | 1.434 | 2.0000E+01 | 1.000 | 10000.000 | CHOPF, SPECC, metal foil |
| 88 | 1982(1) | SCA33 | 1.2306E+01 | 5.688 | 6.9997E-01 |  |  |  |  |  | For subtraction of scattering contribution (Table 3) |
| 89 | 1982(1) | SCA33-SCR33 | 1.2006E+00 | 49.977 | 6.0002E-01 |  |  |  |  |  | For subtraction of scattering contribution (Table 3) |
| 90 | 1982(1) | SCA35 | 1.6508E+01 | 7.875 | 1.3000E+00 |  |  |  |  |  | For subtraction of scattering contribution (Table 3) |
| 91 | 1982(1) | SCA35-SCR35 | 1.7008E+00 | 44.097 | 7.5000E-01 |  |  |  |  |  | For subtraction of scattering contribution (Table 3) |
| 92 | 1982(1) | SCA39 | 8.0037E+00 | 12.494 | 9.9998E-01 |  |  |  |  |  | For subtraction of scattering contribution (Table 3) |
| 93 | 1982(1) | SCA39-SCR39 | 8.0037E-01 | 137.437 | 1.1000E+00 |  |  |  |  |  | For subtraction of scattering contribution (Table 3) |
| 94 | 1982(1) | SCA41 | 1.2006E+01 | 21.657 | 2.6001E+00 |  |  |  |  |  | For subtraction of scattering contribution (Table 3) |
| 95 | 1982(1) | SCA41-SCR41 | 1.2006E+00 | 249.886 | 3.0001E+00 |  |  |  |  |  | For subtraction of scattering contribution (Table 3) |
| 96 | 1974(1) | 39FH139 | 1.8121E+03 | 0.454 | 8.2269E+00 |  |  |  |  | 20143 |  |
| 97 | 1973(1) | 34FH135 | 1.4391E+03 | 0.445 | 6.4040E+00 |  |  |  |  | 20143 |  |
| 98 | 1961(1) | FIS35 | 5.8937E+02 | 1.325 | 7.8092E+00 | 5.8700E+02 | 1.022 | 6.0000E+00 | 0.996 | 20189.003 | CHOPS |
| 99 | 1967(1) | FIS39/FIS35 | 1.2530E+00 | 1.800 | 2.2554E-02 | 1.2530E+00 | 1.756 | 2.2000E-02 | 1.000 | 21494.002 | SPECC+SELVE |
| 100 | 1967(1) | FIS41/FIS35 | 1.7630E+00 | 2.751 | 4.8500E-02 | 1.7720E+00 | 2.709 | 4.8000E-02 | 1.005 | 21494.003 | SPECC+SELVE |
| 101 | 1977(1) | 34FH135 | 1.4430E+03 | 0.791 | 1.1414E+01 |  |  |  |  | 30399 |  |
| 102 | 1959(1) | 33FH133 | 8.3426E+02 | 3.302 | 2.7547E+01 |  |  |  |  | 21471 | Not for EXFOR |
| 103 | 1959(1) | FIS35 | 5.8197E+02 | 3.092 | 1.7995E+01 | 5.8200E+02 | 2.062 | 1.2000E+01 | 1.000 | 21471.006 | SELVE |
| 104 | 1959(1) | 39FH139 | 1.7148E+03 | 2.843 | 4.8752E+01 |  |  |  |  | 21471 | Not for EXFOR |
| 105 | 1956(1) | FIS41/FIS39 | 1.3319E+00 | 6.000 | 7.9914E-02 |  |  |  |  | 21031 | CHOPS |
| 106 | 1965(1) | FIS35 | 5.8371E+02 | 1.449 | 8.4580E+00 | 5.7200E+02 | 1.049 | 6.0000E+00 | 0.980 | 21387.002 | CHOPF |
| 107 | 1959(1) | FIS35 | 5.9317E+02 | 2.232 | 1.3240E+01 | 6.0500E+02 | 0.992 | 6.0000E+00 | 1.020 | 12392.002 | CHOPF |
| 108 | 1964(1) | FIS41 | 9.8545E+02 | 4.569 | 4.5025E+01 | 9.6200E+02 | 3.950 | 3.8000E+01 | 0.976 | 12529.005 | CHOPF |
| 109 | 1965(1) | 39FH139/34FH135 | 1.2425E+00 | 1.557 | 1.9346E-02 |  |  |  |  | 21520 | SPECC |
| 110 | 1970(1) | 39FH139/34FH135 | 1.2578E+00 | 1.624 | 2.0427E-02 |  |  |  |  | 30089 | Also EXFOR 30140. |
| 111 | 1977(1) | NUB52 | 3.7549E+00 | 0.431 | 1.6184E-02 |  |  |  |  | 31761 | Revised nu-p (3.746+/-0.016) must be added. |
| 112 | 1980(1) | NUB33/NUB52 | 6.6049E-01 | 0.255 | 1.6842E-03 |  |  |  |  | 30772 | nu-p ratio in 30772.002 |
| 113 | 1980(1) | NUB35/NUB52 | 6.4318E-01 | 0.255 | 1.6401E-03 |  |  |  |  | 30772 | nu-p ratio in 30772.003 |
| 114 | 1980(1) | NUB39/NUB52 | 7.6614E-01 | 0.243 | 1.8617E-03 |  |  |  |  | 30772 | nu-p ratio in 30772.004 |
| 115 | 1980(1) | NUB41/NUB52 | 7.8028E-01 | 0.231 | 1.8024E-03 |  |  |  |  | 30772 | nu-p ratio in 30772.005 |
| 116 | 1982(1) | NUB52 | 3.7831E+00 | 0.221 | 8.3607E-03 |  |  |  |  | 10954 | nu-p in 10954.002 |
| 117 | 1984(2) | NUB33/NUB52 | 6.5996E-01 | 0.340 | 2.2439E-03 |  |  |  |  | 12833 | Initial value based on on ENDF/B-V and Westcott 1969? (Table 28) |
| 118 | 1984(2) | NUB35/NUB52 | 6.4701E-01 | 0.265 | 1.7146E-03 |  |  |  |  | 12833 | nu-p ratio in 12833.003, 12834.002, 12906.003 |
| 119 | 1984(2) | NUB39/NUB52 | 7.6530E-01 | 0.257 | 1.9668E-03 |  |  |  |  | 12833 | nu-p ratio in 12833.004, 12906.002 |
| 120 | 1984(2) | NUB41/NUB52 | 7.8423E-01 | 0.290 | 2.2743E-03 |  |  |  |  | 12834 | nu-p ratio in 12834.003 |
| 121 | 1963(1) | NUB52 | 3.7767E+00 | 0.838 | 3.1649E-02 | 3.7710E+00 | 0.796 | 3.0000E-02 | 0.998 | 12326.007 |  |
| 122 | 1963(1) | NUB33/NUB52 | 6.5483E-01 | 0.895 | 5.8607E-03 |  |  |  |  | 12326 |  |
| 123 | 1963(1) | NUB35/NUB52 | 6.4587E-01 | 0.838 | 5.4124E-03 |  |  |  |  | 12326 |  |
| 124 | 1963(1) | NUB39/NUB52 | 7.5047E-01 | 0.996 | 7.4747E-03 |  |  |  |  | 12326 |  |
| 125 | 1963(1) | NUB52 | 3.7910E+00 | 1.066 | 4.0412E-02 |  |  |  |  | 20074 | nu-p in 20074.002 |
| 126 | 1965(1) | NUB35/NUB52 | 6.4222E-01 | 0.847 | 5.4396E-03 | 6.4000E-01 | 0.828 | 5.3000E-03 | 0.997 | 20025.000 | Also at 2SWDSWR. Ext. to thermal. |
| 127 | 1968(1) | NUB52 | 3.8194E+00 | 1.033 | 3.9454E-02 | 3.7960E+00 | 0.000 |  | 0.994 | 21198.002 |  |
| 128 | 1985A(3) | NUB52 | 3.7547E+00 | 0.300 | 1.1264E-02 | 3.7509E+00 | 0.285 | 1.0700E-02 | 0.999 | 22004.002 |  |
| 129 | 1966(1) | NUB52 | 3.7299E+00 | 0.806 | 3.0063E-02 |  |  |  |  |  |  |
| 130 | 1965(1) | NUB52 | 3.7405E+00 | 0.438 | 1.6383E-02 |  |  |  |  |  |  |
| 131 | 1965(1) | NUB33/NUB35 | 1.0204E+00 | 0.587 | 5.9897E-03 | 1.0200E+00 | 0.588 | 6.0000E-03 | 1.000 | 21454.002 |  |
| 132 | 1965(1) | NUB39/NUB35 | 1.1835E+00 | 0.675 | 7.9886E-03 | 1.1820E+00 | 0.677 | 8.0000E-03 | 0.999 | 21454.003 |  |
| 133 | 1965(1) | NUB41/NUB35 | 1.2102E+00 | 0.905 | 1.0952E-02 | 1.2100E+00 | 0.909 | 1.1000E-02 | 1.000 | 21454.006 |  |
| 134 | 1965(1) | NUB35/NUB52 | 6.4334E-01 | 0.472 | 3.0366E-03 |  |  |  |  | 21454 | NUB52/NUB35 in 21454.007 |
| 135 | 1964(1) | NUB33/NUB52 | 6.7093E-01 | 1.235 | 8.2860E-03 |  |  |  |  | 21135 |  |
| 136 | 1964(1) | NUB35/NUB52 | 6.4145E-01 | 0.537 | 3.4446E-03 |  |  |  |  | 21252 |  |
| 137 | 1964(1) | NUB39/NUB52 | 7.7307E-01 | 1.122 | 8.6738E-03 |  |  |  |  | 21135 |  |
| 138 | 1981(1) | NUB52 | 3.7618E+00 | 0.483 | 1.8169E-02 | 3.7580E+00 | 0.399 | 1.5000E-02 | 0.999 | 41595.002 |  |
| 139 | 1984(2) | NUB52 | 3.7678E+00 | 0.303 | 1.1416E-02 | 3.7670E+00 | 0.265 | 1.0000E-02 | 1.000 | 10941.002 |  |
| 140 | 1982(1) | NUB52 | 3.7641E+00 | 0.711 | 2.6763E-02 |  |  |  |  | 21833 | nu-p in 21833.003 |
| 141 | 1977(1) | NUB52 | 3.7475E+00 | 0.580 | 2.1736E-02 | 3.7440E+00 | 0.614 | 2.3000E-02 | 0.999 | 10717.002 |  |
| 142 | 1972(1) | NUB52 | 3.7507E+00 | 0.463 | 1.7366E-02 | 3.7290E+00 | 0.402 | 1.5000E-02 | 0.994 | 10166.003 |  |
| 143 | 1981(1) | NUB52 | 3.7534E+00 | 0.490 | 1.8392E-02 |  |  |  |  | 30536 | nu-p in 30536.002 |
| 144 | 1981(1) | NUB52 | 3.7828E+00 | 0.759 | 2.8711E-02 |  |  |  |  |  |  |
| 145 | 1984(2) | ETA33 | 2.2972E+00 | 0.350 | 8.0402E-03 |  |  |  |  |  | Derived from 12554.003 and 12318.002.2? |
| 146 | 1984(2) | ETA35 | 2.0842E+00 | 0.386 | 8.0450E-03 |  |  |  |  |  | Derived from 12554.004 and 12318.004? |
| 147 | 1984(2) | ETA39 | 2.1120E+00 | 0.380 | 8.0256E-03 |  |  |  |  |  | Derived from 12554.005 and 12318.003? |
| 148 | 1984(2) | ETA41 | 2.1690E+00 | 0.419 | 9.0881E-03 |  |  |  |  |  | Derived from 12554.002? |
| 149 | 1960(1) | ETA33 | 2.3121E+00 | 0.375 | 8.6704E-03 | 2.2960E+00 | 0.436 | 1.0000E-02 | 0.993 | 12349.002 | CDDIFF |
| 150 | 1960(1) | ETA35 | 2.0757E+00 | 0.382 | 7.9292E-03 | 2.0770E+00 | 0.481 | 1.0000E-02 | 1.001 | 12349.003 | CDDIFF |
| 151 | 1962(1) | ETA39 | 2.1163E+00 | 0.851 | 1.8010E-02 | 2.1430E+00 | 0.467 | 1.0000E-02 | 1.013 | 12508.002 | CADDIF? |
| 152 | 1968(2) | F1CAB | 2.7384E+02 | 4.960 | 1.3582E+01 | 2.7620E+02 | 4.417 | 1.2200E+01 | 1.009 | 21410.002 | T=116 deg |
| 153 | 1968(2) | F2CAB | 1.1719E+03 | 3.176 | 3.7220E+01 | 1.1828E+03 | 1.877 | 2.2200E+01 | 1.009 | 21410.004 | T=116 deg |
| 154 | 1968(2) | F3CAB | 3.2690E+00 | 2.776 | 9.0747E-02 | 3.2690E+00 | 2.723 | 8.9000E-02 | 1.000 | 21410.000 | T=116 deg |
| 155 | 1968(2) | F4CAB | 3.0339E+02 | 5.836 | 1.7706E+01 |  |  |  |  | 21410 | T=116 deg |
| 156 | 1968(2) | F5CAB | 3.8710E+00 | 1.602 | 6.2013E-02 |  |  |  |  | 21410 | T=116 deg |
| 157 | 1973(2) | CA40 | 2.8950E+02 | 0.484 | 1.4012E+00 |  |  |  |  |  |  |
| 158 | 1973(2) | CA42 | 1.8500E+01 | 2.162 | 3.9997E-01 |  |  |  |  |  |  |
| 159 | 1973(2) | GC11639 | 1.3262E+00 | 6.056 | 8.0315E-02 |  |  |  |  |  |  |
| 160 | 1960(2) | GC11640 | 1.0860E+00 | 2.000 | 2.1720E-02 |  |  |  |  |  | Not for EXFOR |
| 161 | 1973(2) | GC11641 | 1.1085E+00 | 2.457 | 2.7236E-02 |  |  |  |  |  |  |
| 162 | 1960(2) | GC11642 | 1.1335E+00 | 2.670 | 3.0264E-02 |  |  |  |  |  | Not for EXFOR |
| 163 | 1973(2) | GA11639 | 1.1846E+00 | 1.521 | 1.8018E-02 |  |  |  |  |  |  |
| 164 | 1960(2) | GA11641 | 1.1073E+00 | 0.819 | 9.0688E-03 |  |  |  |  |  | Not for EXFOR |
| 165 | 1982(2) | ETA39/FIS39 | 2.7820E-03 | 2.072 | 5.7643E-05 |  |  |  |  | 12793 |  |
| 166 | 1985(3) | ABS35+SCR35 | 6.9000E+02 | 1.000 | 6.9000E+00 | 6.9000E+02 | 0.725 | 5.0000E+00 | 1.000 | 12941.004 | TOF, LINAC |
| 167 | 1985(3) | ABS39+SCR39 | 1.0258E+03 | 1.000 | 1.0258E+01 | 1.0250E+03 | 0.585 | 6.0000E+00 | 0.999 | 12941.005 | TOF, LINAC |