## Slide 1: New JGAMUT code
Michael Birch and Balraj Singh (Presenter)
Department of Physics and Astronomy,
McMaster University, Hamilton, Canada
NSDD-2017, LBNL, Berkeley, California, USA, May 22-26, 2017

## Slide 2: Motivation: Why Use JGAMUT?
Current approach for Adopted Levels, Gammas (A-L-G)
  Manually average gamma-by-gamma for each level
  Labour intensive, time consuming
  No standardized procedure for handling systematic discrepancies
  between different datasets.
Using JGAMUT
  Organizes ENSDF input into an easy to read format (intermediate tabular file)
  Automates gamma-by-gamma averaging procedure
  Provides additional routines to detect systematic (calibration) differences between measurements
  By GAMUT approach, provides sophisticated statistical procedures than simple averaging
  This code will soon be released through the IAEA-NDS for testing.

## Slide 3: JGAMUT Algorithms: Parsing ENSDF Input
Input for JGAMUT is a text file containing ENSDF datasets used to make the adopted levels, gammas dataset
An important first step is for the code to determine which levels and gammas are the same between different datasets
Two or more (closely spaced) levels are considered different if they are from the same dataset (a single level cannot be observed more than once in an experiment)
Two levels are considered the same if:
  Their energies and spins are identical (rarely occurs)
  Their energies are within 3 keV and there is at least one gamma-ray in common (Eγ within 3 keV; considers both in-coming and out-going gammas)

## Slide 4: JGAMUT Algorithms: Parsing ENSDF Input
Two gamma-rays are considered the same if they come from different datasets and have the same initial and final levels
Initial levels are determined from the ENSDF datasets
Final levels (unless specified by FL=) are assigned according to which level is closest in energy to (Ei – Eγ)
  If difference exceeds 50 keV a warning is given

## Slide 5: JGAMUT Algorithms: Parsing ENSDF Input
Known issue: tends to produce superfluous levels due to failed matching
Options to mitigate the issue:
  Merge levels with in-coming gammas, but no out-going gammas with near-by levels (since the improperly matched levels often have this property)
  Only include levels which appear in a given ALG dataset (useful if a nucleus is being updated in ENSDF, but no new levels are being added)
The evaluator must always check the “intermediate file” to ensure level and gamma matching has been done correctly
Must also verify each gamma measurement is independent

## Slide 6: JGAMUT Algorithms: Gamma-By-Gamma
All measurements for each gamma-ray energy and intensity are averaged separately
Averaging is done as follows:
  Weighted average is adopted unless χ2 > χ2crit (at 99% confidence), then
  Normalized Residual Method (NRM) is adopted unless χ2 > χ2crit (at 99% confidence), then
  Unweighted average is adopted
User is informed if NRM or unweighted average is used

## Slide 7: JGAMUT Algorithms: Linear Systematic Shifts
Sometimes different experiments have systematic energy discrepancies due to calibration differences
The evaluator can choose a particular experiment to be the “standard” and look for linear systematic differences between the standard and the other measurements
The linear energy shifts in gamma-ray energies are defined by
Where is the measurement of the i-th gamma-ray energy in the standard dataset and is the measurement in the j-th dataset
(1)

## Slide 8: JGAMUT Algorithms: GAMUT Eγ Algorithm
Level scheme fitting approach with optional constant systematic shifts formulated by R.B. Firestone (LBNL) [LBL-26024 (1991)]
Relate gamma-ray energies to level energies according to
Where is the kth level energy, is the constant systematic shift for the jth experiment and is the placement of the ith gamma with respect to the kth level (+1 or -1 if de-populating or populating, 0 otherwise)
(5)

## Slide 9: JGAMUT Algorithms: GAMUT Iγ Algorithm
Global minimization procedure by Tepel and Lederer [IAEA report INDC(NDS)-115/NE (1980)]
Assumes linear relation between intensity scales of different experiments, , where is the intensity of the ith gamma-ray measured by the jth experiment and is the intensity of the ith gamma-ray on the common scale
Factors are determined by minimizing

## Slide 10: JGAMUT: Adopted Levels and Gammas
Program flow
ENSDF Datasets (input)
Intermediate File (user editable)
Gamma-by-Gamma Averages
GAMUT Algorithm Results